

# S.T. E-TENDER SPECIFICATION NO. 59/EUDC-I/2024-25/NOIDA (WORKS)

**ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, 33/11KV SUB-STATION, SECTOR-18, NOIDA**

***Estimated Cost of Tender : Rs. 47.20 Lacs (GST Inclusive)***

***Second Part opening Date – will be notified later on e-tender website.***

### E-Tender Document’s Cost deposited R.No………………………………………………...

**for Rs……………...……Dated:…………………..**

### A.A.O./D.A.

**From : M/S ……. ………………….**

To,

The Superintending Engineer, Electricity Urban Distribution Circle-I,

33/11KV Sub-station, Sectpr-18 Ist Floor, Opposite Sab Mall, NOIDA.

### Subject: S.T. E-Tender for Electricity Urban Distribution Circle-I, Noida against E-Tender Specification No…………………………….........

Sir,

With reference to your invitation of E-Tender for the above. I/we hereby offer to the Paschimanchal Vidyut Vitran Nigam Ltd., the items mentioned in E-Tender Form (Part-I) in strict accordance with the annexed conditions of contract Form “A/B”, Specifications and Schedule of Rates (Part-II) to the satisfaction of the purchaser or in default thereof agree for forfeiture of Sum of money (EMD) along with further actions mentioned in said conditions of tender to P.V.V.N.L. The detailed particulars are as below.

I/We agree to abide by this tender for the period till finalization of agreement.

A sum of Rs…………………(Rupees ) as earnest money

is hereby enclosed as detailed below in favor of desired authority and full value of which shall be retained by

P.V.V.N.L. against the condition of contract.

This offer shall remain valid for 180 (One Hundred and Eighty) days from the date of tender opening.

### Details of requisite E/M enclosed in the form of

**…………………………………………………**

…………………………………………………

Yours faithfully,

### (Signature of Tenderer with seal)

### Date & time of acceptance of E-Tender : ………………………………

**Date & time of opening of E-Tender : ……………………………**

From : M/s…………………………………..

To,

The Superintending Engineer, Electricity Urban Distribution Circle-I,

33/11KV Sub-station, Sectpr-18 Ist Floor, Opposite Sab Mall, NOIDA.

Subject: S.T. E-Tender for the supply/ work of ………………………

Dear Sir,

With reference to your E-Tender Specification No……………………………………for the supply/ work of I/we hereby submit my/ our offer in

accordance with the annexed terms and conditions, Specification to your satisfaction with the following details:-

1. Acceptance of General Terms & conditions and specification on the form enclosed and signed by me/ us.
2. I/we agree to binding myself/ our self that in the event of the supply/ work being awarded to me/ us, if I/we fail to execute the same, my/ our Earnest Money will stand forfeited.
3. I/we agree to abide by this by this tender for a period of 180 days for finalization and further for a period of as mentioned in Terms & conditions for execution of work/ supply in accordance with the conditions of contract.
4. I/we have been fully understood the work being tendered. I/we have previous experience of doing similar work. Details of the same are enclosed in proof of my/ our statement.
5. I/we also agree to commence the supply/ work within the period as mentioned in your Terms & conditions from the date of contract awarded to me/ us or am/ are authorized by you in writing for taking up the same pending formal execution of contract.
6. In case of any dispute I/we agree to abide by the decision of Superintending Engineer, Electricity Urban Distribution Circle-I, Noida /M.D., PVVNL, Meerut (as the case may be) which shall be final and binding on me/ us and where the Chairman, UPPCL, nominates an arbitrator for adjudication of differences of disputes in case of refusal/ neglect by such nominee, Chairman, UPPCL may nominate another person in his place.
7. I/we also agree that all disputes arising out or and touching or relating the subject matter of this tender, if go to the court of law shall be subject to the jurisdiction of local court of GB Nagar and High Court to the judicature at Allahabad only.

Yours Faithfully,

### SIGNATURE OF THE TENDERER

**WITH SEAL**

**DECLARATION**

S.T. E-Tender invited by : The Superintending Engineer, Electricity Urban Distribution Circle-I,

33/11KV Sub-station, Sectpr-18 Ist Floor, Opposite Sab Mall, NOIDA.

S.T. E-Tender for (Name of work/ supply) : ……………………………………………………………….

……………………………………………………………….

……………………………………………………………….

S.T. E-Tender Specification No. : ……………………………….

Name of Tenderer : ……………………………..

IN CONSIDERATION OF THE PVVNL having treated the tenderer to be an eligible person whose tender may be considered, the tenderer hereby agree to the conditions that the proposal in response to the above invitation shall not be withdrawn within 180 days from the date of opening of the e-tender, also to the conditions that if thereafter the tenderer does withdraw his proposal within the said period, the Earnest Money deposited by him may be forfeited to the PVVNL in the discretion of the letter.

### Signed this………………day of………………………………..

**SIGNATURE OF THE TENDERER**

### WITH SEAL

**PASCHIMANCHAL VIDYUT VITRAN NIGAM LTD.**

# Electricity Urban Distribution Circle-I, Sector-18, Noida PART-I (A)

### S.T. E-Tender Specn.. No………/EUDC-I/2024-25/Noida

**Dt. of Acceptance :……………… time… Hrs.**

### Due of Opening Dt time …… Hrs.

Dear Sir,

With reference to your invitation of tenders against above specifications, I/we hereby offer to the Paschimanchal Vidyut Vitran Nigam Ltd to supply the items/ executive the work mentioned in tender specifications in strict accordance with the annexed conditions of contract from “A/B”, commercial/ technical specifications (Bid Part-I) and schedule of rates (Bid Part-II) to the satisfaction of the purchaser. The detail particulars are as below :-

|  |  |  |
| --- | --- | --- |
| 1. Name of Tenderer | : |  |
| **2. Address Office/Shop/Workshop** | **:** |
| (a) Phone No. |  |
| (b) Fax |  |
| (c) Email address |  |
| (d) Residence (With Tel No.) |  |
| 3. Income Tax PAN No. | **:** |
| 4. GST No. | **:** |
| 5. Period of earlier experience for such type of job. | **:** |
| (Attach photo copies of supporting documents). |  |
| 6. Performance Certificates |  |
| (Attach photo copies of supporting documents). | **:** |
| 7. Validity of Proposal Rates | **:** |
| 8. Whether prices are applicable for reduced quantity | : | Yes / No / N.A. |

Issued by :

|  |  |
| --- | --- |
| **S.E. E.U.D.C.-I,**  **NOIDA** | **(Signature of Tenderer & Seal)** |

### PRE QUALIFYING CONDITIONS OF THE TENDERERS AGAINST SHORT TERM E-TENDER NO. 59/EUDC-I/2024- 25/NOIDA (WORKS).

The bidders have to fulfill following minimum conditions of experience and financial competence in order to qualify for consideration this tender:

QeZ@Bsdsnkj dks fufonk ds Hkkx&izFke esa fuEufyf[kr izi= Upload djkus vko’;d gksaxs vU;Fkk mldk Hkkx&f}rh; ugha [kksyk tk;sxkA

|  |  |  |
| --- | --- | --- |
| **Sl.**  **No.** | **PARTICULARS** | **INFORMATION** |
| **1** | **TECHNICAL CAPABILITY** | * 1. The Bidder should have a valid Class “A” Electrical License Holder (issued by Electricity Safety Directorate of UP. License) must be uploaded   or **the bidder will submit copy of the application made for obtaining Class ‘A’ Electrical License for that financial year but the date of application for the license must be before the opening date mentioned in first tender notice published. It will be mandatory for the bidder to submit the Class “A” Electrical License before start of the allotted work.**  1.2- The bidder should have successfully completed the turnkey/semi-turnkey work of the following nature in the last five financial year as prime contractor from the date of opening of bid part-1 in Government / Semi-Government / PSU Unit. Agreement with satisfactory work completion / Experience Certificate is to be compulsory to upload issued by the Tender Inviting Authority / Work Executed Authority -   1. Bidder Should have successfully erected and commissioned similar or higher rating work in a single turnkey/semi turnkey order, having minimum order value of 60% (Rs. 28.32 Lacs) of the estimated cost of the present tender specification,   Or   1. Bidder Should have successfully erected and commissioned similar or higher rating work in a two turnkey/semi turnkey order, having minimum order value of 40% (Rs. 18.88 Lacs) of the estimated cost of the present tender specification,   Or   1. Bidder Should have successfully erected and commissioned similar or higher rating work in a three turnkey/semi turnkey order, having minimum order value of 30% (Rs. 14.16 Lacs) of the estimated cost of the present tender specification, |
| **2** | **FINANCIAL CAPABILITY** | 2.1.i- **The Minimum Average Annual Turnover (MAAT)** The bidder should have a minimum average annual turnover (MAAT) of Rs. 47.20 Lakh (100% of the estimated cost) per annum for the best three financial years out of the last five financial years.  **Note:** The audited balance sheet / CA's certificate with UDIN Number shall be uploaded in support of above failing which the bid shall not be considered.  2.1.ii- **Net worth** of the bidder should be positive. Net worth means the sum total of the paid up capital and free reserves (excluding reserves created out of revaluation) reduced by aggregate value of accumulated losses (including debit balance in profit and loss account for current year) and intangible assets with UDIN Number shall be uploaded in support of above failing which the bid shall not be considered. Certificate of Net worth should be upload.  2.1.iii- **Solvency: -** The bidder should have a minimum solvency of Rs. 11.80 Lakh (25% of Estimated cost) or credit facility for the same from scheduled commercial bank. Certificate of Solvency should be upload.  2.2- The bidder shall to annex character certificate from the District Magistrate along with the Techno Commercial part of the bid document, Character Certificate should be valid on the date of bid submission. (Certificate should be uploaded)  2.3- The bidder should not be black listed / debarred from business in any Govt. / Semi Government / PSU / Local Bodies etc. at the time of bid opening. They have to submit an undertaking on Rs. 10.00 non-judicial stamp paper with notary with date regarding this along with the bid. (Certificate should be uploaded) |
| **3** | **Payment** | Payment will be done after complete execution of work/ entire project & submission of executed estimate and after getting satisfactory report in all respect from concern SDO/JE. |
| **4** | **Other Documents** | * 1. Certified copy of GST registration of the firm must be enclosed.   2. Self-attested copy of PAN of the firm must be enclosed. |
| **5** | **Times of Completion:** | 01 YEARS from the date of L.O.I. / Agreement. |
| **6** | **Warranty Period:** | 12 (Twelve) month (Removing period of defective work). |
| **7** | **P.B.G.** | The Contractor shall have to deposit a contract performance guarantee @ 10% of the value of Awarded Contract in the form of FDR/E-BG pledged in favor of EE EUDD-I NOIDA at the time of agreement/before the agreement validity of Security amount shall be 12 months. Security Money shall be returned/refunded after work completion and NOC issued by the concerned division. |
| 8 | **Earnest Money and Tender Fee** | **The Bidder has to be Deposited Earnest Money Rs. 47,200.00 and E-Tender Fee Rs. 3000+540=3540.00 (With GST) through RTGS in A/c of EE, EUDD-I, Noida of ICICI Bank, Sector-50, Noida Account No. 628405012725, IFSC Code – ICIC0006284 and pay-in slip, confirmation mail copy should be attached with the first Part through Online while filling the Tender Document.** |

**uksV%& bZ&fufonk ls lEcfU/kr leLr izi=@vfHkys[k izFke Hkkx ds lkFk bZ&Vs.Mj iksVZy ds ek/;e ls vkWu ykbZu gh izkIr fd;s tk,axs] viyksM fd;s x;s izi= lkQ ,oa iBuh; ;ksX; gksus pkfg, vU;Fkk izi= dks fujLr dj fn;k tk;sxkA dksbZ Hkh izi=@vfHkys[k e.My dk;kZy; esa vyx ls Lohdk;Z ugha gksxk rFkk v/kksgLrk{kjdrkZ }kjk bZ&fufonk esa viyksM fd;s x;s vfHky[skks dks vko';drkuqlkj ewy vfHky[skks ls lR;kiu fd;k tk;sxkA vfHkys[kksas esa fHkUurk@ fufonk ds izFke Hkkx esa viyksM ugha djkus ij fufonk vkeaf=r djus okys vf/kdkjh dks fufonknkrk dh fufonk dks fcuk fdlh dkj.k crk;sa fujLr djus dk iw.kZ vf/kdkj gksxkA**

### Signature of E-Tenderer with seal

**TERMS & CONDITIONS AGAINST SHORT TERM E-TENDER NO. 59/EUDC-I/2024-25/NOIDA (WORKS) FOR CARRYING OUT THE WORK CONSTRUCTION OF 33KV/ 11KV/ L.T LINE, DOUBLE POLE FOR RELEASING OF NEW CONNECTION AND LINE SHIFTING WORKS AND OTHER RELATED WORK UNDER FULL DEPOSIT SCHEME FOR THE PERIOD OF 01 YEARS UNDER EUDD-I, NOIDA IN THE JURIDICTION OF EUDC-I, NOIDA.**

**Special Conditions of the Specification**

**uksV &**

1. lanfHkZr fufonk ds vUrxZr izLrkfor dk;Z lseh&VuZdh vk/kkj ij djk;k tk;sxkA
2. fufonknkrk }kjk dk;Z dks jsLiks }kjk fu/kkZfjr fof’k”Vhdj.k] ekudks ds vuq#i gh djk;k tk;sxkA
3. fufonknkrk }kjk if’pekapy ds vuqeksfnr osUMj ls] vuqeksfnr th0Vh0ih0 ds vuqlkj gh lkexzh Ø; dh tk;saxhA ftldk fufonknkrk }kjk v/kh{k.k vfHk;Urk ds ek/;e ls foHkkxh; fu;ekuqlkj fujh{k.k@ijh{k.k djk;k tkuk vko’;d gksxkA
4. fufonk ds dk;Z ,yvksvkbZ@vuqcU/k dh frfFk ls vkxkeh 12 ekg dh vof/k esa iw.kZ djk;k tk;sxkA
5. dk;Z ek=k iw.kZr% vuqekfur gS] izkDdyu@dk;ZLFky dh ck/;rk ds vk/kkj ij vfrfjDr dk;Z Hkh tksM+s@?kVk;s tk ldrs gSA fdlh Hkh dk;Z esa ‘kwU; ls vf/kdre lhek rd ¼fufonk /kujkf’k dh lhek ds vUnj½ ifjorZu fd;k tk ldrk gSA
6. dk;Z lEcfU/kr [k.M ds Lohd`r izkDdyu ds vuqlkj fd;k tk;sxkA
7. dk;Z dk FkMZ ikVh }kjk fujh{k.k djk;s tkus ds mijkUr gh iw.kZ Hkqxrku fd;k tk;sxkA

**Responsibilities of Contractor:-**

1. The contractor is required to make them fully conversant with the job required and the work shall be executed as per general conditions of the tender specification contract.
2. The contractor shall be supplying, erecting, testing & commissioning of all materials and equipment’s not mentioned specifically in the scope of works but required to complete the job in all respect, except excluded specifically for which no extra payment shall be made.
3. The Contractor shall have to arrange all carriage facility including transportation cartages, man power, T&P etc.
4. Any type of NOC (Forest Deptt., Noida/Gr.Noida/Yamuna Authority any other Govt./PSU/Private areas etc.) for the completion of following work will be arranged by the bidder itself only, Department will not be liable for these NOC.
5. The charges for Road cutting, Forest Clearances charges, land lease charges or from any other agency which are required to complete the work shall be paid by the contractor.
6. Tenderer are advised to visit the sites/Areas of divisions before offering their rates.
7. Illumination/Lighting of working site shall be in the scope of contractor. Nothing shall be paid by the PVVNL.
8. Safety of Man & Material shall be ensured by contractor.
9. The contractor shall ensure that the work is carried out as per NGT Norms/Standard and in such a manner that all premises always look Neat & clean, Similarly, the waste disposal is also carried out in totally sealed manner without affecting the Environment.
10. The Contractor shall have to deposit a contract performance guarantee @ 10% of the value of Awarded Contract in the form of FDR/E-BG pledged in favor of EE EUDD-I NOIDA at the time of agreement/before the agreement validity of Security amount shall be 12 months. Security Money shall be returned/refunded after work completion and NOC issued by the concerned division.

### Taxes:-

The Bidder all quoted rate should be inclusive GST & all other taxes.

### Others Terms & Conditions:-

1. Any loss or damage to any of the public utilities shall be repaired by the contractor at his own cost.
2. The Contractor shall have to arrange all carriage facility including transportation cartages, man power T&P etc on its own cost.
3. The Contractor shall make adequate Arrangement for proper Handling of Material to avoid any Damage/ Loss/Accident etc of any kind.
4. No T&P will be provided by the department. The Contractor shall arrange all the T&Ps. Equipment’s. Welding set, generator set etc. required for carrying out the above work at his own cost.
5. The contractor shall be fully responsible for any loss/thefts/damaged/accidents the material of the departments and accordingly, he shall have to keep adequate watch and ward to avoid any loss/thefts /damages/accidents etc. to the material of the PVVNL.
6. During the period of work in progress, the Contractor shall have to provide lighting arrangement sign board etc or necessary precautionary arrangement so that accident/ damages/ losses to the public/manpower of the contractor/ department etc. are avoided.
7. The contractor shall be fully responsible for any accident/loss to the persons(s) working with/under him and shall have to pay compensation in accordance with the prevailing rules & regulations of Govt/ PVVNL.
8. All the charges on account of damages/losses/thefts etc. involved under the condition laid down above shall be borne by the contractor.
9. Proper skilled staff included Supervisor capable for execution of the above work shall have to be arranged by the contractor. The safety of labour while at work shall be the responsibility of the contractor and any compensation to be paid to them on any account, whatsoever, shall also be responsibility of the contractor UPPCL/ PVVNL shall not be liable for any such compensation etc.
10. The contractor shall have to execute the work within the stipulated time as provided in the order (work-slip) to be issued by the competent authority.
11. All the material will be provided by the Department (PVVNL), except providing by the contractor as per mentioned in rate schedule, cable Jointing Kits, bricks, cement, coarse sand, river sand, brick ballast, stone ballast, all type of clamps, nuts & bolts and other petty items etc. if required for execution of work, which will be arranged by the contractor at his own cost.
12. A Penalty @½% per week for Delay in Execution of work shall be payable by the contractor on the total value of work not done/late done as per work slip. The maximum penalty livable will not, however, exceed 10% of the value of the order not execution.
13. The Proper Shut down will be given as required by the Contractor time to time as per site/system Requirement and Availability by the SDO/JE of the Concern Area.
14. The bills in triplicate duly Pre - receipted with the original work-slip shall be submitted by the Contractor to the Engineer of the Contract for Payment.
15. The work is to be Done by the Contractor under the Direct Supervision of concerned S.D.O (Dist).
16. Depending upon the site conditions, the individual quantity of any item / work may vary up to any extent but total value of the work shall not ±50% exceed beyond the Agreement Value.
17. All General Conditions of Contract laid down in Form ‘A’ & Form ‘B’ of UPSEB/ UPPCL/PVVNL shall also be applicable.
18. GST TDS, Income Tax, Labour Cess & other taxes shall be deducted from the bills of the Contractor as per rules prevailing at the time of payment.
19. If the Contractor Fails to execute the work within the stipulated period, the order placing authority reserve the right to get the work done departmentally or through any other agency. The Excess expenditure, if any, incurred in this connection plus 15% supervision charges shall be debited from the Contractor and it will be recovered from the Security Amount/Running/Pending Bills or through any other credit pending with UPPCL of the Contractor.
20. Not withstanding the agreement executed with the Contractor, the Engineer of the contract always reserves the right to get the work done by department or through any other agency. The Contractor shall have no objection and claims over such work.
21. The Agreement can be terminated by the Engineer of the Contract at any time without any notice in the event of un-satisfactory performance of the Contractor. This is however, without prejudice to the other Terms & Conditions of the Agreement.
22. For any dispute arising out of the Contract, Chief Engineer (Dist.), Noida Zone, Noida. Shall final Authority to Decide the Dispute and his Decision shall be binding on both the Parties.
23. Control cable, LT Lead, Distribution Box, Feeder Pillar, Meter Panel, LT ACB with Cabinet, HDPE Pipe, G.I. Pipe, TPMO, Fuse Set, Chemical earthing / Pre caste Earthing etc. shall be inspected by the competent committee of PVVNL before supply of material for which an inspection call will be made to competent committee authority P.V.V.N.L. through S.E., E.U.D.C-I, Noida.
24. E.E., E.U.D.D-I, Noida shall be the consignee of all material.
25. The contractor will purchase the material as per approved technical specification / G.T.P.
26. The supplier of the material shall have the experience of supplying the material to PVVNL/ Govt. / PSU utilities.
27. All the work (erection, grouting etc.) will be completed as per RESPO Norms.
28. Videography or Photography of site shall be done by the contractor before start the work and after its completion, cost of which will be borne by the contractor.
29. The firm shall procure the materials from reputed manufactures.
30. All those petty materials not appearing in the prices schedule but are required to complete the work as per Bill of Quantity / Price Schedule, shall have to be arranged by the contractor at his own cost. Similarly, any work activity not specifically indicated but is required for systematic execution of job as per Bill of Quantity / Price Schedule, shall also be done by the contractor for which no separate payments shall be made.
31. Payment of work shall be done by E.E., EUDD-I, Noida after complete execution of work/ entire project & submission of executed estimate and after getting satisfactory report in all respect from concern SDO/JE and availability of funds.
32. In case the tenderer quotes impractical rates for the work and does not enter into a contract, action will be taken to confiscate the earnest money of the tenderer and blacklist the firm.
33. The Tender Work will be bifurcated/allotted within Two firms / more than two firms on L-1 quoted rates as required for timely completion the works by the SE EUDC -1, Noida at the time of agreement.
34. As per the requirement of the work, out of the contracted quantity, the work can be done in the work area of any section after the permission of the Superintending Engineer, Electricity Urban Distribution Circle-I, Noida.

### Superintending Engineer

**EUDC-I, Noida**