## Rate Schedule
dk;Z dk fooj.k | dqy vuqekfur /kujkf'k th,lVh lfgr ¼:0 yk[k esa½ | dksVsM % High/Low on Column 2 (+ or - %) | dqy dksVsM /kujkf'k th,lVh lfgr Column 2 + or - % dksVsM in Column 3 ¼:0 yk[k esa ½
1 | 2 | 3 | 4
layXud ^^d** ds vuqlkj fofHkUu fMiksftV ykbZu dk;Z | 10
dqy dksVsV /kujkf'k 'kCnksa esa
¼:Œ--------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------½

## Sheet1 (hidden)
Sl. No. | Item Description | Unit | Material Rate
1 | 2 | 4 | 6 | 7
1 | Safe carriage and erection of the following material from Store Centre Joya , Amroha to work site including loading and unloading at both ends :-
1.01 | 13 Mtr./11 Mtr./9 Mtr./8.5 Mtr. Long PCC/ST Poles. | Nos
| 13 Mtr. ST Pole | Nos
| 11 Mtr. ST Pole | Nos
| 9 Mtr. ST Pole | Nos
| 8.5 Mtr. PCC Pole | Nos
| 9 Mtr. PCC Pole | Nos
1.02 | ACSR Weasel/Dog Conductor. | Mtr
1.03 | 11/0.4 10 KVA Transformers. | Nos.
1.04 | 11/0.4 25 KVA Transformers. | Nos.
1.05 | 11/0.4 63 KVA Transformers. | Nos.
1.06 | 11/0.4 100 KVA Transformers. | Nos.
1.07 | LT A.B.C. Cable. | Mtr
1.08 | 11 KV XLPE cable of size 3x70 sq.mm./ 3x120 sq.mm./ 3x180 sq.mm. etc. | Mtr
1.09 | Line material such as Cross-Arms, Pin Insulators, Guarding Angles, Guarding Wire, Disc Insulators and Cable Jointing Kits etc. | Qtl
1.1 | CT/PT Unit | Nos
1.11 | 11 KV pilfer proof metering cubical. | Nos
2 | Dismantling of the line by :-
2.01 | Removing of ACSR Weasel/Dog conductor from all phases on line, making bundle and stacking at a safe place. | Mtr
2.02 | Uprooting of 13 Mtr./11 Mtr./9 Mtr Long ST Poles. | Nos
2.03 | 11/0.4 10 KVA Transformers. | Nos
2.04 | 11/0.4 25 KVA Transformers. | Nos
2.05 | 11/0.4 63 KVA Transformers. | Nos
2.06 | 11/0.4 100 KVA Transformers. | Nos
2.07 | 33 KV CT/PT | Nos
2.08 | 11 KV CT/PT | Nos
3 | For 11 KV Line, Single support 13/11/9/8.5 Mtr. long ST/PCC Poles :- Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole), providing and laying of stone pad (300x300x75mm.) in the bottom of the pit. Erection of single pole support complete with fixing of 11 KV V-Type cross-arms and all other accessories by providing stone pad, holding clamps, f-bracket and nuts & bolts etc. as per RESPO Norms. | Nos
4 | For 11 KV Line, Double Pole structure with 13/11/9/8.5 Mtr. long ST/PCC Poles :- Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole). Erection of support (pole) complete work by fixing of D.P. Clamps and all other accessories. The work includes fabrication work and fixing of cross bracing sets, cutting holes complete work as per RESPO Norms. | Nos
5 | Construction of Tri-Pole Structure on ST Poles including fabrication of MS Angle Channel, Cross Bracing etc. with proving and fitting of all type of clamps made of MS Flat of size 65x8mm. with Nuts, Bolts & washer, grouting of pole in size of 220x45x45 cm. with Cement, Sand and Brick Ballast in the ratio of 1:4:8, as per RESPO Norms. | Nos
6 | Grouting of Poles Single line support :- Grouting of support in CC 1:4:6 (cement, sand and 40 mm. brick ballast) Grouting will be done in the block of size 45cm x 45cm x 1/6th of full length of the support upto ground level as per RESPO Norms. | Nos
7 | Grouting of stay rods (20x1800mm.) including all works of excavation, cement concrete in size of (0.60x0.60x0.30)M in the ratio of 1:4:6 (cement, sand and 40 mm. brick ballast) including back filling of soil and proper ramming etc. | Nos
8 | Fixing, tightening and nozelling of stay wire with stay rod and stay insulators with the pole of required tension by providing stay clamps, nuts, bolts etc. | Nos
9 | Earthing of support with MS Earth Rod of (20x2500)mm. long including excavation of pit and driving MS Rod 3.0M apart from support and 0.5M below the ground level and connecting below the earth electrodes with the help of G.I. Wire 6 SWG tightening with nuts and bolts. | Nos
10 | Laying, sagging, stringing and binding of ACSR Weasel/ Dog Conductor with all other accessories on pole as per RESPO Norms. | Mtr
11 | Laying, sagging, stringing and binding of ABC Conductor with all other accessories on pole as per RESPO Norms. | Mtr
12 | Laying of 11 KV XLPE Cable of size 3x70 sq.mm./ 3x120 sq.mm./ 3x180 sq.mm. and making connections as per RESPO Norms. | Mtr
13 | Filling and fixing of 11 KV outdoor/indoor type cable jointing kits as per RESPO Norms. | Nos
14 | Construction of 11 KV Underground Line :-
14.01 | Digging of cable trench in size of 0.45Mtr.x1.05 Mtr. | Mtr
14.02 | Laying of 11 KV 3x70/120/185 sq.mm. cable in the trench. | Mtr
14.03 | Providing 150 mm. sand cushion beneath and 150 mm. above the cable. The cable shall be duly protected by 1st Class Bricks, two on either side and third on top of the cable, laid in the series one after the other. | Mtr
14.04 | Refilling and ramming of the left out soil, closing the trench and levelling. Spare cable shall be left in the loop shape at both ends, including providing of all required material and T&P. | Mtr
15 | Providing and fixing of Danger Board with clamp, nut and bolts. | Nos
16 | Providing and fixing of Number Plate with clamp, nut and bolts. | Nos
17 | Providing and wrapping of barbed wire on 11 KV PCC Poles at a height of 2.75 Mtr. from the ground level as per RESPO Norms. | Nos
18 | Fitting of 11 KV Pilfer proof metering cubical including making proper connections. | Nos
19 | Guarding of 11 KV Line with G.I. wire as per RESPO Norms. | Span
20 | Mounting and fixing of 11 KV CT/PT Unit on double pole including making proper connections. | Nos
21 | Fixing of 11 KV 3Ph-4W TVM Meter at double pole including making proper connections. | Nos
22 | Mounting and fixing of 10 KVA transformer on pole including making proper connections. | Nos
23 | Mounting and fixing of 25 KVA transformer on double pole including making proper connections. | Nos
24 | Mounting and fixing of 63 KVA transformer on double pole including making proper connections. | Nos
25 | Mounting and fixing of 100 KVA transformer on double pole including making proper connections. | Nos
26 | Providing G.I. Pipe 6” dia for inserting 11 KV XLPE cable for safety of cable on Single/Double Pole by providing and fixing of MS Clamp, Nuts and Bolts. | Mtr
27 | Fixing and fitting of single/three phase distribution box on pole for making consumers cable connection complete work. | Nos
28 | Carriage of following from work site to Store Centre Joya Amroha including loading and unloading at both ends :-
28.01 | 13 Mtr./11 Mtr./9 Mtr. Long ST Poles. | Kg
28.02 | ACSR Weasel/Dog Conductor/M.S. Scrap. | Kg
28.03 | CT/PT Unit. | Nos
28.04 | 11 KV pilfer proof metering cubical. | Nos
28.05 | 11/0.4 10 KVA Transformers. | Nos
28.06 | 11/0.4 25 KVA Transformers. | Nos
28.07 | 11/0.4 63 KVA Transformers. | Nos
28.08 | 11/0.4 100 KVA Transformers. | Nos

## BOQ
Name of Work: Work of release the different new connection, Increase & decrease load and HT & LT Line Shifting etc. (running) in deposit scheme under Electricity Distribution Division Amroha.
Contract No: Short Term E-Tender Specification No.T-65/2024-25/EDCA Due On: 07.04.2025
Sl. No. | Item Description | Quantity | Unit | Rate | Amount
1 | 2 | 3 | 4 | 5 | 6
Supply of following material including freight and insurance charges.
1.01 | Stone pad | Nos. | 246
1.02 | Cross Arm holding Clamps with nut and bolt | Nos. | 102
1.03 | F-Bracket | Nos. | 118
1.04 | Dead and clamps with hook | Nos. | 72
1.05 | PG clamps | Nos. | 175
1.06 | PG clamps (LT ABC Line) | Nos. | 620
1.07 | Clamps for D.B. (40x6mm) | Nos. | 144
1.08 | Piercing clamps | Nos. | 72
1.09 | E-Bracket for 11 KV with bolts and nuts | Nos. | 61
1.1 | Barbed Wire | K.g. | 341
1.11 | Bolts and nuts with washer other size | K.g. | 64
1.12 | Number Plate with clamps | Nos. | 174
1.13 | Danger Board with clamps | Nos. | 174
1.14 | Alluminium paint | Ltr. | 154
1.15 | Red Oxide paint | Ltr. | 154
1.16 | Gaurding angle 65x65x6 mm 1.6 mtr | Nos. | 103
1.17 | Gaurding angle clamps with nut bolts | Nos. | 35
1.18 | Eye Bolt for gaurding | Nos. | 133
1.19 | Alluminium TAPE | Nos. | 142
1.2 | Alluminium Binding wire 6 SWG | K.g. | 32
1.21 | Suspention clamps with Hook | Nos. | 72
1.22 | The following material Erection/ Fixing & laying as per RESPO manual and as per direction to Supervising Engineer (complete in all respect). Its includes the cost of labour,T&P & safe cartage etc.required all acessaries for proper completion of work.
1.23 | ST Pole 13 meter long | Nos. | 29
1.24 | ST Pole 11 meter long | Nos. | 129
1.25 | PCC POLE 8.5 METER LONG | Nos. | 91
1.26 | ACSR Dog conductor | Mtr. | 3554
1.27 | ACSR Rabbit conductor | Mtr. | 18077
1.28 | ACSR Weasel conductor | Mtr. | 465
1.29 | 11 KV V-Type cross arm | Nos. | 90
1.3 | 11 KV Pin insulator with pin | Nos. | 376
1.31 | 11 KV Disc insulator B&S TYPE | Nos. | 59
1.32 | 11 KV Disc Insulator with fitting | Nos. | 151
1.33 | 33 KV Disc Fitting | Nos. | 27
1.34 | 33 KV Pin insulator | Nos. | 67
1.35 | 33 KV Pin with nut | Nos. | 67
1.36 | 33 KV X -Arm | Nos. | 15
1.37 | MS Angle Iron 65x65x6mm bracing with 4 clamps | Set | 26
1.38 | Top Channel 125x65mm with clamps 3.2 mtr. Long | Nos. | 26
1.39 | Earthing rod complete | Nos. | 153
1.4 | LT ABC (3x120+1x95+1x16)sqmm | Mtr. | 3240
1.41 | Distribution Box | Nos. | 72
1.42 | Stay set complete | Nos. | 183
1.43 | G.I. Wire 6 SWG | K.g. | 1110
1.44 | G.I. Wire 10 SWG | K.g. | 500
1.45 | T-Off Channel | Nos. | 13
1.46 | Top Channel 100x50x2240 mm | Nos. | 7
1.47 | MS Dropper Channel | Nos. | 6
1.48 | MS Angle TF Base 75x75x6x2028 mm | Nos. | 14
1.49 | 11 KV TPMO | Nos. | 7
1.5 | 11 KV Fuse Set | Nos. | 7
1.51 | Concreting of Poles | Nos. | 246
1.52 | Stone pad | Nos. | 246
1.53 | Cross Arm holding Clamps with nut and bolt | Nos. | 102
1.54 | F-Bracket | Nos. | 118
1.55 | Dead and clamps with hook | Nos. | 72
1.56 | Concreting of Stay | Nos. | 158
1.57 | PG clamps | Nos. | 175
1.58 | PG clamps (LT ABC Line) | Nos. | 620
1.59 | Clamps for D.B. (40x6mm) | Nos. | 144
1.6 | Piercing clamps | Nos. | 72
1.61 | E-Bracket for 11 KV with bolts and nuts | Nos. | 61
1.62 | Barbed Wire | K.g. | 341
1.63 | Bolts and nuts with washer other size | K.g. | 64
1.64 | Number Plate with clamps | Nos. | 174
1.65 | Danger Board with clamps | Nos. | 174
1.66 | Alluminium paint | Ltr. | 154
1.67 | Red Oxide paint | Ltr. | 154
1.68 | Gaurding angle 65x65x6 mm 1.6 mtr | Nos. | 103
1.69 | Gaurding angle clamps with nut bolts | Nos. | 35
1.7 | Eye Bolt for gaurding | Nos. | 133
1.71 | Alluminium TAPE | Nos. | 142
1.72 | Alluminium Binding wire 6 SWG | K.g. | 32
1.73 | Suspention clamps with Hook | Nos. | 72
1.74 | Old and used ACSR conductor /LT ABC and Iron Scap | K.g. | 2398
Total
uksV%& 1&fufonknkrk }kjk tks njsa m¦r dh tk;saxh og th0,l0Vh0 lfgr gksaxhA 2&fuekZ.k dk;Z gsrq foHkkx }kjk dksbZ Vh0,.M ih0 miyC/k ugh djkbZ tk;sxh A 3&QeZ dks fodszUnhd`r lkexzh tSls uV cksYV @dySEil bR;kfn miy/k djkuh gksxh A 4&blds vfrfjDr vU; y/kq Js.kh ds dk;Z tks dk;Z iw.kZ djus gsrq vko’;d gks]QeZ }kjk fd;s tk;sxsa A