## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fo¦qr uxjh; forj.k [k.M&Vkmu gky] eqt¶Qjuxj ds vUrxZr iw.kZ tek ;kstuk en esa Hkksik jksM ls xka/kh dkyksuh ekxZ ds pkSMhdj.k o lqn`<hdj.k dk;Z esa ck/kd 33@11 dsoh fo¦qr midsUnz xka/kh dkyksuh ls iksf”kr 11 dsoh vkn’kZ dkyksuh iks”kd dh ,p0Vh0 ,oa ,y0Vh0 ykbZu dks f’k¶V djus dk dk;Z ,oa ljoV QkVd ls ulhjiqj gksrs gq, jFksMh ekxZ ij pkSMhdj.k o lqn`<hdj.k dk;Z esa ck/kd 33@11 dsoh fo¦qr midsUnz ipS.Mk jksM ls iksf”kr 11 dsoh ulhjiqj iks”kd dh ,p0Vh0 ,oa ,y0Vh0 ykbuksa dks f'k¶V djus dk dk;ZA
E-TENDER No. 06/2025-26 OF EUDC MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Safe Carriage of Following Material From Store to Work Site Including Safe Loading & Un Loading at Both Ends (0 to 50 KM)
1.01 | ACSR Dog Conductor |  | 10636 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | 11 KV Pin insulator with pin |  | 265 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | 11 KV Disc insulator with fitting |  | 107 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 33 KV Pin insulator with pin |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 33 KV Disc insulator with fitting |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | STP Pole 13 Mtr. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | PCC Pole 11 Mtr. long |  | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | PCC Pole 8.5 Mtr. long |  | 50 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 11 KV Fuse Set |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | 11 KV HT XLPE Cable size 3x185 sqmm |  | 1240 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 11 KV HT XLPE Cable Box 3x185 sqmm |  | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | LT PVC Lead 1x1000 sqmm |  | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | LT PVC Lead 1x630 sqmm |  | 240 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | LT PVC Lead 1x400 sqmm |  | 160 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | LT PVC Lead 1x240 sqmm |  | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | LT PVC 1x35 Cable |  | 1600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | LT ABC 3x120 sqmm |  | 7360 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | LT ABC 3x95 sqmm |  | 3350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | LT Distribution box 3 phase |  | 86 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | Earthing Set Complete |  | 60 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | MS Angle/chanel |  | 600 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.22 | MS Tope Chanel 100x50x2240 sqmm |  | 50 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.23 | MS Droper Chanel 100x50x2000 sqmm |  | 50 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.24 | Stay Set Complete |  | 58 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.25 | 11 KV X-Arm V-Type |  | 80 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.26 | 33 KV X-arm V-Type |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Errection of PCC Pole 11 Mtr. Long as per norms and fixing all accessories (Nuts, Bolts, washer, peirceing connector and Clamps will be provided by contractor) |  | 106 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Errection of double pole structure by PCC Pole 11 Mtr. long as per norms and fixing all accessories (Nuts, Bolts, washer, peirceing connector and Clamps will be provided by contractor) |  | 20 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Errection of PCC Pole 8.5 Mtr. Long as per norms and fixing all accessories (Nuts, Bolts, washer, peirceing connector and Clamps will be provided by contractor) |  | 50 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Errection of STP 13 Mtr. Long Pole as per norms and fixing all accessories (Nuts, Bolts, washer, peirceing connector and Clamps will be provided by contractor) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Laying of ACSR Dog conductor |  | 10636 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Filling of 11 KV 3x185 XLPE cable box outdoor/indoor |  | 28 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Laying of LT PVC Lead 1x1000 sqmm |  | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Laying of LT PVC Lead 1x630 sqmm |  | 240 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Laying of LT PVC Lead 1x400 sqmm |  | 160 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Laying of LT PVC Lead 1x240 sqmm |  | 80 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Laying of LT PVC 1x35 Cable |  | 1600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying of LT ABC 3x120 sqmm |  | 7360 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Laying of LT ABC 3x95 sqmm |  | 3350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Fixing of LT Distribution Box and makting connection properly |  | 86 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Erection of earthing complete. |  | 60 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Errection of stay complete and Grouting of stay rods including all work of excavation, cement concreet in size .60x.60x.30mm in ration 1:4:8 (Cement, sand, 40mm brick ballast) as per drg. including back filling & proper ramming etc. with fixing tightening & nuzzling of stay set with the pole. |  | 58 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Erection of 11 KV Fuse set and proper connection |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Fabrication on MS angle/channel |  | 600 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Laying of HDPE pipe through HDD trenchless machine (HDPE pile 6" DIA and trenchless machine will be provided by contractor) |  | 1160 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Laying of 3x185 sqmm XLPE cable on D/P. |  | 25 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Laying of 11 KV 3x185 sqmm cable through HDPE pipe. |  | 1160 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Providing & fixing G.I. pipe 6" Dia |  | 55 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Dismentling work of 63 KVA transformer and Shifting to new site with safely carriage with loading & unloading both side. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Dismentling work of 100 KVA transformer and Shifting to new site with safely carriage with loading & unloading both side. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Dismentling work of 250 KVA transformer and Shifting to new site with safely carriage with loading & unloading both side. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Dismentling work of 400 KVA transformer and Shifting to new site with safely carriage with loading & unloading both side. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Dismentling work of 630 KVA transformer and Shifting to new site with safely carriage with loading & unloading both side. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Mounting of 63/100 KVA T/F on Double Pole and making Proper connection (Nut, Bolt, Clamps, Lugs will be provided by the contractor) |  | 9 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Mounting of 250 KVA T/F on plinth and making Proper connection (Nut, Bolt, Clamps, Lugs will be provided by the contractor) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Mounting of 400 KVA T/F on plinth and making Proper connection (Nut, Bolt, Clamps, Lugs will be provided by the contractor) |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Mounting of 630 KVA T/F on plinth and making Proper connection (Nut, Bolt, Clamps, Lugs will be provided by the contractor) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Grouting of Pole with cements, sand, brick, CC Rato 1:4:5 as per norms (all material provided by the contractor) |  | 198 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Cutting and choping of tree branches |  | 30 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Providing and erection of Chemical earthing for Transformer body as per RESPO norms. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Providing and erection of Chemical earthing for Transformer Neutral as per RESPO norms. |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Making of Plinth of size (4'x4'x5') for placing for 250 KVA and 400 KVA transformer. Plinth constructed by 2:3:5 cement, sand and first class bricks and plinth covered by plaster with 1:3 cement and sand for smooth working all complete the works. (all materials provided by contractor). |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Making of Fancing for 250/400 KVA transformer as per norms (all material will be provided by contractor) |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Dismentling of following materials and safely Carriage of Material From site to JE store/store center Muzaffarnagar :-
39.01 | ACSR dog & weasel conductor old and used |  | 3015 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.02 | Iron scrape |  | 1200 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.03 | ST Pole 11 Mtr. |  | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.04 | ST Pole 13 Mtr. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.05 | 11 KV V Cross arm Old & Used |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.06 | 33 KV V Cross arm Old & Used |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.07 | LT ABC scrap |  | 1090 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information