## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fo¦qr uxjh; forj.k [k.M&tkulB] eqt¶Qjuxj ds vUrxZr iw.kZ tek ;kstuk en esa ,u0,p0&58 ij QykSnk dV ls iqjdkyh CykWd rd ds ekxZ ds pkSMhdj.k esa ck/kd ,p0Vh0 ,oa ,y0Vh0 ykbZu ds f'kf¶Vax dk dk;ZA
E-TENDER No. 14/EUDC MZN/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Safe Carriage of Following Material From Store to Work Site Including Safe Loading & Un Loading at Both Ends (0 to 40 KM)
1.01 | ST Pole 13 mtr Long |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | ST Pole 11 mtr Long |  | 138 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | Earthing set complete |  | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 11 KV X-arms V-Type |  | 90 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | GI- wire 6/8/10 SWG for garuding |  | 1400 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | ACSR Rabbit conductor |  | 11324 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | LT ABC Cable (3x120+1x95+1x16) Sqmm. |  | 1550 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | LT ABC Cable (3x95+1x70+1x16) Sqmm. |  | 1490 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | LT ABC Cable (3x50+1x35+1x16) Sqmm. |  | 650 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | LT Distribution Box 3 Phase |  | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | LT AL XLPE CABLE 1CX240 SQMM |  | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | LT AL XLPE CABLE 1CX120 SQMM |  | 300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | STAY SET COMPLETE |  | 122 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 11 KV POLYMERIC PIN INSULATER |  | 334 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | 11 KV POLYMERIC DISC INSULATE |  | 112 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | 11 KV DISC FITTING |  | 72 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.17 | 11 KV D/O FUSE SET |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.18 | 11 KV TPMO switch |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.19 | MS channel/angle |  | 1700 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.2 | MS Angle Iron 65x65x6 mm |  | 168 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.21 | Top Channel 125x65 mm |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Errection of Single Support of ST Pole 11 Mtr Long and fixing all accessories as per norms (Nut, bolts, staone pad 300x300x75 mm and clamps will be provided by contractor) |  | 122 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Errection of Single Support of ST Pole 13 Mtr Long and fixing all accessories as per norms (Nut, bolts, staone pad 300x300x75 mm and clamps will be provided by contractor) |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Errection of Double Pole Structure of ST Pole 11 Mtr Long and fixing all accessories as per norms (Nut, bolts, staone pad 300x300x75 mm, E-bracket for 11 KV and clamps will be provided by contractor) |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Laying of ACSR Rabbit Condouctor |  | 11324 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Febrication of MS channel/angle |  | 1700 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Providing and fixing of G.I. barbed wire |  | 150 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Laying of LT ABC Cable (3x120+1x95+1x16) Sqmm. (Nut, bolts and clamps will be provided by contractor) |  | 1550 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Laying of LT ABC Cable (3x95+1x70+1x16) Sqmm. (Nut, bolts and clamps will be provided by contractor) |  | 1490 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Laying of LT ABC Cable (3x50+1x35+1x16) Sqmm. (Nut, bolts and clamps will be provided by contractor) |  | 650 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Installation and commissioning of LT distribution box 3 phase |  | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Laying of LT AL XLPE CABLE 1CX240 SQMM |  | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying of LT AL XLPE CABLE 1CX120 SQMM |  | 300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Errection fo 11 KV Fuse Set |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Errectiono f 11 KV TPMO switch |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Guarding of 11 KV Line with (Holding clamp with bolts and nut, EYE bolt will be bprovided by contractor) |  | 80 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Errection of earthing complete (Fixing All Accessories As Per Norms) |  | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Errection of stay complete and Grouting of stay rods including all work of excavation, cement concreet in size .60x.60x.30mm in ration 1:4:4 (Cement, sand, 40mm brick ballast) as per drg. including back filling & proper ramming etc. with fixing tightening & nuzzling of stay set with the pole (all material provided by contractor). |  | 122 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Grouting of Pole with cement, sand, bricks CC ratio 1:4:4 as per RESPO norms (all material provided by contractor). |  | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Dismentiling of 250 KVA transformer form plinth and disconnection of LT and HT side |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Dismentiling of 100 KVA and blow 100 KVA transformer form D/P and disconnection of LT and HT side |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Making of Plinth of size (5'x5'x5') for placing transformer. Plinth constructed by 2:3:5 cement, sand and first class bricks and plinth covered by plaster with 1:3 cement and sand for smooth working all complete the works. (all materials provided by contractor) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Providing of earth electrode for chemical earthing pipe in pipe type proper hot dip Galvanization die 50mm length 3 mtr-32mm x 6mm terminal connection hole dia 8mm. The cavity between the pipe & pipe if filled with conductive mixture for hermetically filling inside the cavity i.r. between secondary conductor & Primary conductor & Primary conductor, crystalling compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminium power, conductivive carbon/ cement and bonding material etc. The electrode should be sealed from both the ends. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Boring for earthing of Transformer by bokki process of 100 mm dia and work of deep boring of water level lowering of 32 mm dia with providing ISI Class GI Pipe in the boring upto 80 feet depth with the halp of threading and socket and laying of 20x5 sqmm MS strip from the pipe upto the top with the help of proper electric welding. This earthing strip has to connected to the transformer body properly with proper nuts and bolts etc. (all materials provided by contractor) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Boring for earthing of Transformer by bokki process of 100 mm dia and work of deep boring of water level lowering of 32 mm dia with providing ISI Class GI Pipe in the boring upto 80 feet depth with the halp of threading and socket and laying of 20x5 sqmm MS strip from the pipe upto the top with the help of proper electric welding. This earthing strip has to connected to the transformer netural properly with proper nuts and bolts etc. (all materials provided by contractor) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Fancing for 250 KVA transformer (all material will be provided by contractor) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Errection of 250 KVA transformer on plinth and re-connection of LT and HT side. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Errection of 100 KVA and blow 100 KVA transformer on D/P and connection of LT and HT side. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Providing and fixing of danger board with clamp. |  | 78 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Providing of alluminium paint and painting of electric poles |  | 146 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Dismentiling of following materials and carrage of materials from site to JE Store inculding safe loading and unloading at both ends as per site condition -
31.01 | ST Pole old and used |  | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31.02 | ACSR Weasel scrap |  | 1150 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31.03 | Iron Scrap |  | 400 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information