## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&cfy;k[ksMh] lgkjuiqj ds vUrxZr fo¦qr forj.k mi[k.M&vkbZ0Vh0vkbZ0 ds dk;Z{ks= es iw.kZ tek ;kstuk es Lohd`r izkDyuksa ds vUrxZr ubZ 11 ds0oh0 o ,y0Vh0 ykbZuks dk fuekZ.k djuk ,oa 33 ds0oh0 ykbZuksa ejEer djuk ,oa 10@25@63@100@250 ds0oh0,0 ds ifjorZdks dk LFkkfir djus ,oa ifjorZdks dh {kerko`f) djus ,oa ykbZuks ds LFkkukUrj.k djus dk dk;Z jfuax dkUVªSDV dk dk;ZA
Contract No: 31/w/EDC-II/SRE/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of PCC/ ST poles (up to13 Mtr.) from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends (Dist. Up to 40Km.). |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material (Except PCC /ST Poles XLPE cable / LT ABC cable) from ESC, SRE/ JE store to site of work at various sites including loading, unloading at both ends (Dist. Up to 40Km.).. |  | 1 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safe cartage of 10/25/63/ 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends.(Dist. Up to 40Km.). |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Safe cartage of 33 KV/11 KV XLPE Cable of size 3x35/3x70/3x120/3x185/3x300 sq mm from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Up to 40Km.). |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safely cartage of LT ABC Cable size 3x50+1x35+1x16/3x95+1x70+1x16/3x120+1x95+1x16 sq mm. from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 60Km.).. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safe cartage of 33 KV/11 KV CT/PT Unit from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 40Km.).. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Safe cartage of 33 KV/11 KV Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 40Km.).. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Safely carriage of 250 KVA T/F from ESC, SRE to site of work including loading & unloading at both ends.. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Constriction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1.5 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC Top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Safely installation of New 250 KVA T/F on the plinth by private crain with proper alignment and Complete fitting including making HT connection and commissioning |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing & Making of Wiremesh fencing size 2.5x2.5x2.5 mtr with grouting making frame of MS angle 35x35x4 mm and fixing four no MS strip size 25x4 mm at equal distance in between the frame and fixing square mesh of 50 mm squre in each frame the fencing should cover all side of T/F with providing 1 no door size 6'x3' with sitakni & dandala with green paints (British/Asian/enamel paints) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Earthing of 250 KVA T/F (1 No body & 1 No. neutral earthing) by boring & fixing of G.I pipe 1½ Dia (Jindal Class B) and connecting with G.I. Strip of size 40x5 mm and G.I wire at bottom of G.I pipe to the T/F providing of required charcoal & salt in the pipe. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Erection of single support on PCC/ ST poles (up to 13 Mtr.) Long with complete fitting of all accessories of 33 KV/11 KV/LT line. complete. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Erection of double Pole on PCC/ ST poles (up to 13 Mtr.) Long with complete fitting with all accessories of 33 KV/11 KV/LT line. complete. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing of HDPE Pipe 160 mm dia. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Driling of earth under Road crossing 1.5 mtr. Deep and laying of 02 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine/JCB machine/labour |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Laying of 11/33 KV XLPE cable size up to 3x300 sq mm in the 02 No. HDPE pipe 160 mm dia on 0.5 meter distance |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing and fixing of Number plate with clamp on the each pole. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Providing and Fixing 33 KV/11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing and fixing of GI barbed wire on the each pole. |  | 1 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Providing of Red oxide Paints (British/Asian/enamel paint) |  | 1 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Providing of Alluminium Paint (British/Asian/enamel paint) |  | 1 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Laying, lifting, Stringing, proper sagging 11 KV/33 KV AB cable of size 3x95+1x70+/ 3 3x120+1x95 sq.mm. including fixing of all accessories. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Concreting of stay rod in ratio 1:4:8 with Ist class with brick ballst with cement, sand |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Providing and fixing of stone ped 300x300x75 |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Earthing of poles by earthing rod. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Providing All Type MS Clamp for ST/PCC Poles with nuts bolts made of new MS flat 50x5 mm best quality. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Providing of LT shekel insulator of size 100x115mm |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Providing of nuts & bolts of size. |  | 1 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Providing of Dead end clamp with I-Hook |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Providing of Suspention clamp with I-Hook |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Providing of Piercing connector Diff.size |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Providing of PG Clamp Diff. size |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Providing of of 1x16 sq mm Cable for connection of Distribution box. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Providing of 11 KV cable terminations Kit out door & indoor of size 3x35/3x70/3x120/3x185/3x300 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Providing of G.I Pipe 100mm 4" dia Class B |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.39 | Removel of old weasel/ Rabbit condutor from the Existing 11 KV/LT lines with making roll of condutor and shifting the site to ESC, SRE/JE store including loading and unloading at both ends. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.41 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.42 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Dog Conductor for 33 KV/11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.43 | Removel of 10/25/63 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the site to ESC, SRE/JE store including loading and unloading at both ends. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.44 | Safe installation of 10/25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.45 | Safe installation of 33 KV/11 KV CT/PT Unit on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.46 | Safe installation of 33 KV/11 KV Metering cubical in the room with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.47 | Chemical Earthing of Metering cubical/CT/PT Unit and connecting with G.I Stirp of size 35x4 mm to the Metering cubical/CT/PT Unit Complete Properly. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.48 | Laying, lifting, Stringing, proper sagging LTAB cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.49 | Laying, lifting, stringing proper sagging of 33 KV/11 KV XLPE cable 3X35/3x70/ 3X120/3x185/3x300 sq mm of including complete etc. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.5 | Fixing making of 11 KV cable terminations Kit out door & indoor of size 3x35/3x70/3z120/3x185/3x300 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.51 | Laying and making connections of LT PVC/AL.XLPE cable 4x16/4x25/4x35/3.5x70/3.5x150/ sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.52 | Fabrication Charges of Angel & Channal. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.53 | Fixing of Distribution box with clamp 01 & 03 Phase |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.54 | Fixing of G.I. Pipe 100 mm 4" dia 3.5 mtr. Long at the both side of double pole. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.55 | Concreting of ST Pole SP-55, 11/13 Mtr. with cement concreting in block of 600x600x1500 mm in ration 1:4:8 with cement sand and Brick ballast size 1x1.5 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.56 | Dismantling of exiting PCC/ST Pole after opening of comlete accessories |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.57 | Cutting of Chopping of tree branches touching the 11 KV/LT line. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information