## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle, Hapur.
Name of Work: FOR SUPPLY & ERECTION OF TAIL LESS UNIT SUITABLE FOR MEDIMUM CAPACITY DISTRIBUTION TRANSFORMERS PROTECTION FED FROM 33/11 KV S/S AREA & 3 PHASE SINGLE CIRCUIT, 3 PHASE DOUBLE CIRCUIT & 3 PHASE TRIPAL CIRCUIT ETC. IN BUSINESS PLAN 2025-26 IN THE JURISDICTION OF EDD- HAPUR, PILKHUWA & GARHMUKTESHWAR, UNDER EDC., HAPUR.
Tender No: 65(W)/EDCH/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply & Erection of Tail Less Unit suitable for medimum capacity Distribution Transformers protection fed from 33/11 KV Sub-Station area and 3 Phase Single Circuit, 3 Phase Double Circuit & 3 Phase Tripal Circuit for proper completion of work in Business Plan 2025-26 in the jurisdiction of EDD, Hapur, Pilkhuwa & Garhmukteshwar under EDC, Hapur | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Providing, fabricating & fixing of Henley type Tailless Fuse Unit 3 Phase 01 No single circuit in suitable box with fixing of 01 No. Tailless Unit made of brass material stud type of 300 Amp capacity with Neutral Link with Heavy Duty Aluminium Lug Suitable for 300A load in MS angle (65X65X6mm) frame on at least 2 Ft height on plinth for safe installation or fixing of tailness unit box at MS angle support frame on Pole horizentally/vertically as per requirment of site /extra support on safe height as per site conditions with electrical sefety with making the connection at 100 KVA T/f and Line side complete work. All material except LT cable will be provided by the contractor. |  | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Providing, fabricating & fixing of Henley type Tailless Fuse Unit 3 Phase 02 No single circuit in suitable box of brass material stud type of 500 Amp capacity with Neutral Link with Heavy Duty Aluminium Lug Suitable for 500A load of all connecting Copper bus bar for all phases & neutral ( size 50mm width x 6mm thick) 04 No and in MS angle (65X65X6mm) frame on at least 2 Ft height on plinth for safe installation or fixing of tailness unit box at MS angle support frame on Pole horizentally /vertically as per requirment of site /extra support on safe height as per site conditions with electrical sefety with making the connection at 160/250 KVA T/f and Line side complete work. All material except LT cable will be provided by the contractor. |  | 150 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Providing, fabricating & fixing of Henley type Tailless Fuse 3 Phase 03 No Unit single circuit in suitable box of brass material stud type of 800 Amp capacity with Neutral Link with Heavy Duty Aluminium Lug Suitable for 800A load of all connecting Copper bus bar for all phases & neutral ( size 50mm width x 6mm thick) 04 No and in MS angle (65X65X6mm) frame on at least 2 Ft height on plinth for safe installation or fixing of tailness unit box at MS angle support frame on Pole horizentally/ vertically as per requirment of site /extra support on safe height as per site conditions with electrical sefety with making the connection at 400 T/f and Line side complete work. All material except LT cable will be provided by the contractor. |  | 52 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Providing, fabricating & fixing of Henley type Tailless Fuse 3 Phase 04 No Unit single circuit in suitable box of brass material stud type of 800 Amp capacity with Neutral Link with Heavy Duty Aluminium Lug Suitable for 800A load of all connecting Copper bus bar for all phases & neutral ( size 50mm width x 6mm thick) 04 No and in MS angle (65X65X6mm) frame on at least 2 Ft height on plinth for safe installation or fixing of tailness unit box at MS angle support frame on Pole horizentally/ vertically as per requirment of site /extra support on safe height as per site conditions with electrical sefety with making the connection at 630/1000 KVA T/F and Line side complete work. All material except LT cable will be provided by the contractor. |  | 10 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information