## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&jkeiqj efugkju lgkjuiqj ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr xzke f’keykuk esa 20 ds0oh0,0 ty fuxe dks l;ksatu fuxZr djus dk dk;Z] eS0 ch0ih0lh0,y0 ds;j vkWQ Jhefr n;korh pkS/kjh lkbZV fnYyh jksM] ukukSrk dks 33 ds0oh0 dkeZf’k;y duSD’ku fuxZr djus dk dk;Z] xzke tU/ksMh esss ikuh dh Vadh ds ikl 8-33 ds0oh0,0 l;ksatu fuxZr djus dk dk;Z] 33@11 ds0oh0 midsUnz ukukSrk }kjk iksf”kr 11 ds0oh0 dYyjiqj d`f”k iks”kd ij LFkkfir Jh ekSgEen vyh iq= Jh gkth mLeku fuoklh utnhd tCnku NRRkk ukukSrk nsgkr ds ifjlj ds Åij ls tk jgh 11 ds0oh0 ykbZu dks v;U= LFkku ij f’k¶V djus dk dk;Z] Jh vjfoUnz dqekj iq= Jh /keZiky xzke dekyiqj cdMkSyh lkbZV fnYyh jksM ukukSrk ds [ksr ds Åij ls tk jgh 11 ds0oh0 ykbZu dks v;U= LFkku ij f’k¶V djus dk dk;Z] Jh vfr’k; tSu iq= Jh /keZiky xzke dekyiqj cdMkSyh lkbZV fnYyh jksM ukukSrk ds [ksr ds Åij ls tk jgh 11 ds0oh0 ykbZu dks v;U= LFkku ij f’k¶V djus dk dk;Z] jktuxj dkyksuh dh fo¦qr vkiwfrZ 33@11 ds0oh0 midsUnz ukukSrk izFke ls iksf”kr 11 ds0oh0 [kqMkuk iks”kd ls dkVdj 33@11 ds0oh0 midsUnz ukukSrk f}rh; ls iksf”kr 11 ds0oh0 lat; pkSd iks”kd ls tksMus dk dk;Z] eS0 bUMl Vkoj fy0] ds;j vkQ iqfur dqekj] Hkkjh nhunkjiqj dks 5 fd0ok0 dk l;ksatu fuxZr djus dk dk;Z] Jh efr psruk iRuh Jh v:.k dqekj xzke vEcgsVk pkSd dks 10 fd0ok0 dk vkS¦ksfxd l;ksatu fuxZr djus dk dk;Z] Jh fl}kFkZ iq.Mhj iq= Jh fojsUnz flag fuoklh xzke ;kfg;kiqj }kjk fodflr dh tk jgh vkoklh; dkyksuh egkohj xkMZu fnYyh jksM ukukSrk ds fo¦qrhdj.k dk dk;Z] Jh v{k; dqekj Jh ckcw jke }kjk fodflr dh tk jgh uofufeZr vkolh; dkyksuh] lqij ,drk] fudV lqYrku dkyksuh] ukukSrk ftyk lgkjuiqj ds fo¦qrhdj.k dk dk;Z] Jh latw iq= Jh vkseiky fuoklh xzke eksjk }kjk fodflr dh tk jgh uofufeZr vkolh; dkyksuh jktuxj] fnYyh jksM ukukSrk ds fo¦qrhdj.k dk dk;Z ,oa Jh efr jhek c:okg iRuh Jh Hkqous’oj flag xzke@lkbZV &eksjk lgkjuiqj 250 ds0oh0 dk vkS¦ksfxd l;ksatu fuxZr djus dk dk;ZA
Contract No: 38/w/EDC-II/SRE/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of PCC/ ST poles (up to13 Mtr.) from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends (Dist. Up to 40Km.). |  | 74 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material 11 KV XLPE cable / LT ABC cable (Except PCC /ST Poles) from ESC, SRE/ JE store to site of work at various sites including loading, unloading at both ends (Dist. Up to 40Km.).. |  | 4 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safe cartage of 25/63/ 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends.(Dist. Up to 40Km.). |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Safe cartage of 11 KV Fuse Set from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 40Km.).. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safe cartage of 11 KV TPMO Set Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 40Km.).. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safe cartage of 11 KV Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends (Dist. Up to 40Km.).. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Erection of single support on PCC/ ST poles (up to 13 Mtr.) Long with complete fitting of all accessories of 33 KV/11 KV/LT line. complete. |  | 60 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | Erection of double Pole on PCC/ ST poles (up to 13 Mtr.) Long with complete fitting with all accessories of 11 KV/LT line. complete. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing and fixing of Number plate with clamp on the each pole. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing and Fixing Danger board with clamp nuts & bolts. |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing All Type MS Clamp for ST/PCC Poles with nuts bolts made of new MS flat 50x5 mm best quality. |  | 22 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing and fixing of stone ped 300x300x75 |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Earthing of poles by earthing rod. |  | 24 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing of nuts & bolts of size. |  | 14 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing of Dead end clamp with I-Hook |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing of Suspention clamp with I-Hook |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing of Piercing connector Diff.size |  | 34 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing of J-HOOK |  | 29 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm in ration 1:4:8 with cement sand and Brick ballast and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 23 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing of 11 KV cable terminations Kit out door & indoor of size 3x185/3x300 sq mm. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Removel of old weasel/ Rabbit condutor from the Existing 11 KV/LT lines with making roll of condutor and shifting the site to ESC, SRE/JE store including loading and unloading at both ends. |  | 100 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 1005 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 1950 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Safe installation of 25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Safe installation of 11 KV Metering cubical in the room with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Safe installation of Fuse Set on the double pole with complete fittings including making connections and commissioning. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Safe installation of 11 KV TPMO on the double pole with complete fittings including making connections and commissioning. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Safe installation of 11 KVCT/PT unit of 15/5 Amp on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Laying, lifting, Stringing, proper sagging LTAB cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 975 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Laying, lifting, stringing proper sagging of 11 KV XLPE cable 3X120/3x185/3x300 sq mm of including complete etc. |  | 85 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Fixing making of 11 KV cable terminations Kit out door & indoor of 3x120/3x185 sq mm. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Laying and making connections of XLPE Armoured cable 4x25 sq mm from T/F to double pole (approx to 20 Mtr). |  | 50 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Laying and making connections of LT PVC cable 3.5x70/35sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 30 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Fabrication Charges of Angel (504 kg) & Channal (915 kg) |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Fixing of Distribution box |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Concreting of ST Pole SP-55, 11/13 Mtr. with cement concreting in block of 600x600x1500 mm in ration 1:4:8 with cement sand and Brick ballast size 1x1.5 sq mm. |  | 72 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Dismantling of exiting PCC/ST Pole after opening of comlete accessories |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Cutting of Chopping of tree branches touching the 11 KV/LT line. |  | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information