## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : fctusl Iyku 2025&26 ds vUrxZr fo0u0fo0e0&f}rh;] ukS,Mk ds {ks= esa 11 ,oa 33 ds0oh0 oh0lh0ch0 dk;Z en esa 11 dsoh o 33 dsoh ohlhch cnyus ls lEcfU/kr 09 ua0 dk;ZA
Contract No: SHORT TERM E-TENDER NO 36/EUDC-II NOIDA/2025-26
G.S.T. INCLUSIVE IN QUOTED RATES.
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) 2.The rate quoted by the tenderer shall be inclusive of all duties, taxes (INCLUSIVE OF GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. ALL TAXES INCLUSIVE IN QUOTED RATES . 3. The work is to be done on SEMI TURNKEY BASIS. 4. All the material and erection practices shall be as per tender specification. 5. Above Schedule Structure and quantities is provisional and may vary as per site requirement with due approval. 6. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 7. Financial evaluation and selection of 'L1 Bidder' shall be done on the basis of total amount. The Rates received in the tender will be done final after the approval of competent authority/ committee and competent authority / committee will have the right to negotiate in tender rate. 8. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder with GST IN Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Replacement of 33KV VCB at 33/11KV Sub-Station CGEWHO under EUDD 2 Noida | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safe Cartage of following centralised stock material from any of the Store Center of PVVNL Discom to work site including Loading from Store and safe unloading at site for Item No. 3 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | 33KV Outdoor VCB |  | 1 | Nos | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Installation and Commissioning of 33KV Outdoor VCB at 33/11KV Substation CGEWHO under EUDD -2 Noida with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Water Level Earthing of above 33KV Outdoor VCB as per RESPO/Discom specification. |  | 1 | Job | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Dismentaling of old and Damaged 33KV Outdoor VCB from site and carriage its from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Replacement of 33KV VCB at 33/11KV Sub-Station Sector 137 Noida under EUDD 3 Noida | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Safe Cartage of following centralised stock material from any of the Store Center of PVVNL Discom to work site including Loading from Store and safe unloading at site for Item No. 10 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 33KV Outdoor VCB |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Installation and Commissioning of 33KV Outdoor VCB at 33/11KV Substation Sector 137 under EUDD -3 Noida with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Dismentaling of old and Damaged 33KV Outdoor VCB from site and carriage its from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Replacement of 11KV VCB and Bus Couplers at 33/11KV Sub-Station Dhoom Manikpur, NTPC Road and Kudikhera under EDD-Dadri | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Safe Cartage of following centralised stock material from any of the Store Center of PVVNL Discom to work site including Loading from Store and safe unloading at site for Item No. 16 to 25 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Bus Coupler 350 MVA |  | 1 | Nos | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | 11KV Incoming VCB 600/300/5A |  | 1 | Nos | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | 11 KV VCB O/G CTR 400/200/5a, 350MVA |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | 11KV XLPE Cable 3X300 Sq mm |  | 1 | Mtr | 100 |  |  | Excess(+) | 80 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | 11KV O/D Cable J/Kit 3X300 sq mm |  | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | 11KV I/D Cable J/Kit 3X300 sq mm |  | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | M.S Angle 65x65x6 mm |  | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | 11KV XLPE Cable 3X185 Sq mm |  | 1 | Mtr | 100 |  |  | Excess(+) | 170 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | 11KV O/D Cable J/Kit 3X185 sq mm |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | 11KV I/D Cable J/Kit 3X185 sq mm |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Installation and Commissioning of 11 KV VCB O/G CTR 400/200/5a, 350MVA at different 33/11KV Substation under EDD -Dadri with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Installation and Commissioning of 11KV Incoming VCB 600/300/5A at different 33/11KV Substation under EDD -Dadri with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Installation and Commissioning of Bus Coupler at 33/11KV Substation NTPC Road and Dhoom Manikpur under EDD -Dadri with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Water Level Earthing of above 11KV Outdoor VCB as per RESPO/Discom specification. |  | 1 | Job | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Fixing and Connection of VCB and Bus Couplers as per site requirement by 33KV 3x300sqmm XLPE Cable with complete work in all respect |  | 1 | Mtr | 100 |  |  | Excess(+) | 80 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Fixing and Connection of MS Angle with complete work in all respect |  | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Preparation, Making and Fixing of 33 KV Power Cable ends: Fixing and Making of 33 KV 3x300sqmm XLPE Heat shrinkable outdoor jointing kits suitable for 33 KV 3x300sqmm XLPE after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Preparation, Making and Fixing of 33 KV Power Cable ends: Fixing and Making of 33 KV 3x300sqmm XLPE Heat shrinkable indoor jointing kits suitable for 33 KV 3x300sqmm XLPE after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Fixing and Connection of VCB and Bus Couplers as per site requirement by 11KV 3x185sqmm XLPE Cable with complete work in all respect |  | 1 | Mtr | 100 |  |  | Excess(+) | 170 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Preparation, Making and Fixing of 11 KV Power Cable ends: Fixing and Making of 11 KV 3x185sqmm XLPE Heat shrinkable outdoor jointing kits suitable for 11 KV 3x185sqmm XLPE after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Preparation, Making and Fixing of 11 KV Power Cable ends: Fixing and Making of 11 KV 3x185sqmm XLPE Heat shrinkable indoor jointing kits suitable for 11 KV 3x185sqmm XLPE after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Construction of 11KV VCB Plattform as per requirement with complete work in all respect. (All work in contractor scope) |  | 1 | Job | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Making and commissioning of 11 kv cable box and mounting on switch gear and t/f as per requirement with complete work in all respect. (All work in contractor scope) |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Providing and fixing of Copper Bus Bar size 50X6 mm-2.4 Mtr Long for VCB. |  | 1 | Job | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | PAINTING OF SUB STATION STRUCTURE AND EQUIPEMENTS at 33/11KV Substation Dhoom Manikpur. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | SUPPLY OF RUBBER MAT, SINGLE LINE DIAGRAM at 33/11KV Substation Dhoom Manikpur. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | Dismentaling of old and Damaged 03Bus Coupler, 06 Nos. VCB and other scrap from site and carriage its from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Replacement of 11KV VCB at different 33/11KV Sub-Station under EDD-Jewar | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | Safe Cartage of following centralised stock material from any of the Store Center of PVVNL Discom to work site including Loading from Store and safe unloading at site for Item No. 46 to 48 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | 11 KV VCB O/G CTR 400/200/5a, 350MVA |  | 1 | Nos | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | 11 KV 3cx185sqmm XLPE Cable |  | 1 | Mtr | 100 |  |  | Excess(+) | 480 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | 11 Kv Out Door Termination Kit |  | 1 | Nos | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | Installation and Commissioning of 11 KV VCB O/G CTR 400/200/5a, 350MVA at different 33/11KV Substation under EDD -Jewar with Complete work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | Fixing and Connection of VCB as per site requirement by 11KV 3x185sqmm XLPE Cable with complete work in all respect |  | 1 | Mtr | 100 |  |  | Excess(+) | 480 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | Preparation, Making and Fixing of 11 KV Power Cable ends: Fixing and Making of 11 KV 3x185sqmm XLPE Heat shrinkable outdoor jointing kits suitable for 11 KV 3x185sqmm XLPE after duly plumbing and taping of cable, providing, fixing and crimping of proper size good quality lugs with complete connention in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Dismentaling of old and Damaged 03 Nos. VCB and other scrap from site and carriage its from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information