## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : fctusl Iyku 2025&26 ds vUrxZr fo0u0fo0e0&f}rh;] ukS,Mk ds {ks= esa 33@11 dsoh midsUnzksa dk lqn`<+hdj.k ,oa izksVsD'ku lEcU/kh en ds 44 ua0 dk;ZA
Contract No: SHORT TERM E-TENDER NO 37/EUDC-II NOIDA/2025-26
G.S.T. INCLUSIVE IN QUOTED RATES.
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) 2.The rate quoted by the tenderer shall be inclusive of all duties, taxes (INCLUSIVE OF GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. ALL TAXES INCLUSIVE IN QUOTED RATES . 3. The work is to be done on SEMI TURNKEY BASIS. 4. All the material and erection practices shall be as per tender specification. 5. Above Schedule Structure and quantities is provisional and may vary as per site requirement with due approval. 6. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 7. Financial evaluation and selection of 'L1 Bidder' shall be done on the basis of total amount. The Rates received in the tender will be done final after the approval of competent authority/ committee and competent authority / committee will have the right to negotiate in tender rate. 8. Tenderer must be fill-up the enclosed terms & conditions sheet and attached with 1st Part of Tender as well as scanned copy of same will be uploaded on NIC Website alongwith other documents.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder with GST IN Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | fo0u0fo0e0&f}rh;] ukS,Mk ds {ks= esa 33@11 dsoh midsUnzksa dk lqn`<+hdj.k ,oa izksVsD'ku lEcU/kh en ds fofHkUu dk;ZA | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safe Cartage of following centralised stock material from any of the Store Center of PVVNL Discom to work site including Loading from Store and safe unloading at site for Item No. 3 to 9 | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | 33KV CT 200/100/1Amp. |  | 1 | Nos | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 33KV CT 400/200/1Amp. |  | 1 | Nos | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | 33KV outdoor PT 33 KV/110 Volts. |  | 1 | Nos | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Battery & Battery Charger |  | 1 | Set | 100 |  |  | Excess(+) | 26 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | 33KV Control Panel (doubleT/f) |  | 1 | Nos | 100 |  |  | Excess(+) | 18 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | 33KV Control Panel (SingleT/f) |  | 1 | Nos | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Vaccum Interptor |  | 1 | Nos | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Installation and Commissioning of 33KV CT 200/100/1Amp. at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Installation and Commissioning of 33KV CT400/100/1Amp. at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Installation and Commissioning of 33KV outdoor PT 33 KV/110 Volts. at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Installation and Commissioning of Battery and Battery Charger at different site asper directed by EE EUDD - 2 and 3 Noida with Complete and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 26 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Installation and Commissioning of 33KV Control Panel (Double T/F) at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 18 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Installation and Commissioning of 33KV Control Panel (Single T/F) at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Providing and Fixing of 4 Core2x2.5sqmm Armoured Control Cable for Control Cable with Complete work in all respect. |  | 1 | Mtr | 100 |  |  | Excess(+) | 4600 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Water Level Earthing of above Control Panel as per RESPO. |  | 1 | Job | 100 |  |  | Excess(+) | 23 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Installation and Commissioning of Vaccum Interptor at different site asper directed by EE EUTD - 2 Noida with Complete wiring and work in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Dismentaling of old and Damaged 33KV CT 200/100/1Amp., 33KV CT 400/100/1Amp., 33KV Outdoor PT, Battery and Battery Charger, Control Panel (Single and Double T/F) from site and carriage its from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 221 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Supply and Installation of Different types of Relay | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Supply, Installation and commissioning of IDMT Numerical Micro controller Relay Type ADR 141A suitable for various 11 KV control Panel as per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels) |  | 1 | Nos | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Supply, Installation and commissioningSupply of IDMT Numerical Micro controller Relay Type ADR 141A suitable for various 33 KV control Panel as per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels) |  | 1 | Job | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Supply, Installation and commissioning of master relay (24 V) at various sites as per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels/PTF/switchgears) |  | 1 | Job | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Supply, Installation and commissioning of WTI Relay at Different Sub-stationsas per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels/PTF/switchgears) |  | 1 | Nos | 100 |  |  | Excess(+) | 25 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Supply, Installation and commissioning of OTI Relay at Different Sub-stationsas per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels/PTF/switchgears) |  | 1 | Nos | 100 |  |  | Excess(+) | 25 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Supply, Installation and commissioning of Bucollzz Relay at Different Sub-stationsas per direction given by EE EUTD 2 Noida with complete work in all respect. (Specification given seperately due to different types of panels/PTF/switchgears) |  | 1 | Nos | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Supply of Different type of Control Cable for wiring of VCB/Control Panels. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Supply of PVVNL Approved Control Cable 10Core and Replacement of Wiring of VCB by Control Cable 10Core at Different 30 Nos. Sub-stations under EUTD- 2 Noida |  | 1 | Mtr | 100 |  |  | Excess(+) | 3560 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Supply of PVVNL Approved Control Cable 6Core Replacement of Wiring of VCB by Control Cable 6 Core at Different 30 Nos. Sub-stations under EUTD- 2 Noida |  | 1 | Mtr | 100 |  |  | Excess(+) | 3560 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Supply of PVVNL Approved Control Cable 4Core Replacement of Wiring of VCB by Control Cable 4 Core at Different 30 Nos. Sub-stations under EUTD- 2 Noida |  | 1 | Mtr | 100 |  |  | Excess(+) | 3560 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Installation of Copper Bus-Bar at Power Transformers LT side in all 47 Nos. Power T/F installed at 22 no. sub-station under EUDD 2 Noida | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Supply, delivery, erection, & commissioning of Copper Bus-Bar (1.75 MTR Long/Each+03 nos Post Insulator and MS complete structure for mounting post insulator and copper bus bar) including all charges at Power Transformers LT side in all 47 Nos. Power T/F installed at 22 no. sub-station under EUDD-2 NOIDA. as following. (SDO-5=27,SDO-6=57,SDO-7=57) |  | 1 | Nos | 100 |  |  | Excess(+) | 141 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | SUPPLY AND INSTALLATION OF 100 Nos. L.T. FEEDER PANELS (MAIN PANEL) FOR 50 NOS EUDD2 AND 50 NOS. EUDD 3 NOIDA ON TURN-KEY BASIS. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Supply and Installation of new L.T. Feeder Pillar (Main Pannel) as per following specification with all relevant certificate:- 1) LT Feeder Pillar Box (Main Pannel) shall be of 14 SWG HR sheet, having (4) doors, two in front and 2 doors on back side of 14 SWG HR sheet. Doors should have proper locking arrangements with providing crome locks of standard make. It should have a canopy on top in order to prevent it from water ingress in rains. The doors of box should be welded with robust quality hinges and PVC Gasket with provision of 3 hinges on each door and handle on each door with PVC Gasket.The periphery of door of the LT Feeder Pillar Box (Main Pannel) shall be provided with lining of rubber/ PVC to prevent entry of rain, insects, lizards, rats etc. so as to make it vermin proof. 2) The dimension of Feeder Pillar Box (Main Pannel) 5(Height) X 3.5(Width) X 2.5(Depth) Feet (With Canopy). 3) 04 Nos. Bus Bar insulation coated made of aluminum for red, yellow, blue & neutral phases suitable for 400 Amp. 4) 01 No. ISOLATOR SWITCH of 400 Amp. of L&T / Havell’s / ABB make for disconnecting of Supply. 5) 24 Nos. KIT KAT Fuse of 415V, 200 Amp. each capacity tested as per IS shall be provided with 8 Nos. on each phase so as to cater to 8 Nos. 3 Phase connections of branch pannel. 6) Aluminum crimping lugs of size 400 / 240 Sq.mm. and proper size thimbles shall be provided for safe termination of incomer as well as individual service cable as per qty. requirement. 7) Bakelite sheet shall be provided on the base of channel meant for mounting the Kit Kats. 8) All nuts, bolts & washers used shall be electro galvanized. 9) The height of erected feeder pillar box (Main Pannel) approx. 01 feet from the earth on powder coating base of angle iron size 40x40x5mm frame with 04 nos. legs of 1.6 feet each (06 inch grount of angle on earth bottam, 6 inch grout in plinth and 6 inch gap in pannel base and plinth) 10) Grouting & Plinth of Feeder Pillar Box (Main Pannel) as per site requirement complete in all respects. 11) The panel case consisting of door and roof (canopy) shall be powder coated with chemical process (weather proof) of light green color both inside and outside. Before painting, the sun faces shall be thoroughly cleaned from dust, grease and rust. Identification no. shall be written as per direction. 12) Sundry item. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Disconncetion of all incoming & outging connection from pannel as per requirement. |  | 1 | Job | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Reconncetion of all incoming & outging connection from pannel after replacement as per requirement. |  | 1 | Job | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Dismantling of damaged L.T. Main Feeder Pannel from earth on work site. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Carriage of above dismantled Pannel from works site to JE store / central store & proper stacking with loading & unloading. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Making of plinth with Ist class brick work in the size of 1100(length)x700(width) , 150 mm below the earth and 300 mm above the earth in 1::4 (Cement,Sand) mortar with plaster outer suface of Plinth, all material and work for using in plinth will be provided by the contractor. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | Installation of above new L.T. Main Feeder Pannel in place of damgaged L.T. Main Feeder Pannel with required items complete in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | Providing & fixing of 3.5c x 240 sq mm aluminium armoured XLPE L.T PVC cable or as per site requirement and as per approved PVVNL technical specification for installation above Pannels as per requirement. (GTP Approved) |  | 1 | Nos. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | Providing of chemical earthing for above new L.T. Feeder Pillar (Main Pannel) and installation as per following :- | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Chemical earthing with earth elctrode strip in pipe terminal type chemical earthing proper hot deep galvanization dia 50 mm length 3 mtr down conductor size - 32mm x 6mm terminal connection hole dia 8mm The cavity between the strip & pipes is filled with condutive mixture - for hermetically filling inside the cavity i.e. between secondary conductor & primary conductor, crystline compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminum power, conductive carbon / cement and bonding material etc the electrode should be sealed from both the ends. The outer pipe of the elctrode should be zinc coated the characteristics of this compound is highly cnductive, non magnetic & non corrosive in G.I. Including providing of Pgs backfill compound each elctrode should be supplied with bags of 25 k.g. x 2 bfc compound (ground resistance enhancement powder 50 kgs each CPRI tested to connect the above chemical earthing with the GI strip of size 32mmx6mm. |  | 1 | Nos | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | SUPPLY AND INSTALLATION OF 100 Nos. LT Meter Panel Box FOR 50 NOS EUDD2 AND 50 NOS. EUDD 3 NOIDA ON TURN-KEY BASIS. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | Supply and Installation of new L.T. Meter Pannel Boxes (Three Phase) for 08 Nos./16 Nos. Meter as per following specification with all relevant certificate:- 1) Providing of new L.T. Meter Pannel Box of size 1350x1200 Sq.mm. + 450x900 Sq.mm. = 2.025 Sq. Mtrs. (as per drawing) made of MS sheet of 1.6 mm (+ 0.2 mm)/16 SWG thick which required into 4 columns contains & feeders as per drawings enclosed of size 450x450 Sq.mm. each for fixing the consumer's meters, 01 Nos. busbar chamber of size 900x300 Sq.mm. for fixing 04 Nos. Aluminium bus-bars for R, Y, B &N in box & 450x300 Sq.mm. feeder for incoming MCCB 200 Amp. All 04 Nos. aluminum bus bars of suitable size (40x10mm) shall be provided R, Y, B & N by insulators. The metallic covers will have to be provided on each columns of the box. The side wall of box will have suitable holes for service cables. For fixing the meter pannel box, necessary arrangement by providing clamps, nut & bolts etc. are to be made. Wiring of meter pannel box has to 10mm copper wire & lugs. Complete meter pannel box (inside & outside) should be painted with one coat of red oxide primer then 02 coats of light grey enamel paint of reputed brand make. Before painting the sun faces shall be thoroughly cleaned from dust, grease of rust. Locking arrangement with 01 No. pad lock shall be provided on each cover of the Meter Pannel Box. Complete the work in all respect. 2) Meter Pannel Box mounting by MS Angel 40x40x5mm for Meter Pannel Box mounted on wall. 3) Incoming MCCB of 200 Amp. TP L&T / Havell’s / ABB make to be installed in Meter Pannel Box. 4) Fixing of Consumer's meters in Meter Pannel Box (08 Nos./ 16 Nos. three phase) in each box or as per site requirement) and reconnection of consumer's connections with the meters and cable reconnections with the Bus-bars. Complete the work in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | Disconncetion of all consumer connection from pannel as per requirement. |  | 1 | Job | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Reconncetion of all consumer connection from pannel after replacement as per requirement. |  | 1 | Job | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | Dismantling of damaged L.T. Meter Pannel from earth on work site. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | Carriage of above dismantled Pannel from works site to JE store/ any store of PVVNL Discom & proper stacking and safe Carriage with loading & unloading both ends. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | Installation of above new L.T. Meter Pannel (Three Phase) in place of damgaged L.T. Meter Pannel with required items complete in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | Providing & fixing of 3.5c x 70/150 sq mm aluminium armoured XLPE L.T PVC cable or as per site requirement and as per approved PVVNL technical specification for installation above Meter Pannels as per requirement. |  | 1 | Mtr | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Providing of chemical earthing for above new L.T. Meter Panel Box and installation as per following :- | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54 | Chemical earthing with earth elctrode strip in pipe terminal type chemical earthing proper hot deep galvanization dia 50 mm length 3 mtr down conductor size - 32mm x 6mm terminal connection hole dia 8mm The cavity between the strip & pipes is filled with condutive mixture - for hermetically filling inside the cavity i.e. between secondary conductor & primary conductor, crystline compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminum power, conductive carbon / cement and bonding material etc the electrode should be sealed from both the ends. The outer pipe of the elctrode should be zinc coated the characteristics of this compound is highly cnductive, non magnetic & non corrosive in G.I. Including providing of Pgs backfill compound each elctrode should be supplied with bags of 25 k.g. x 2 bfc compound (ground resistance enhancement powder 50 kgs each CPRI tested to connect the above chemical earthing with the GI strip of size 32mmx6mm. |  | 1 | Job | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | Replacement of Jarjar LT lead ( 1x630 Sq.mm.) of 300 Nos. DTs under EUDD - 2 Noida | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56 | Supply eraction laying and replacement of LT lead ( 1x630 Sq.mm. in place of Jarjar LT lead ( 1x630 Sq.mm.) at various. DTs under EUDC - 2 Noida. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | LT lead ( 1x630 Sq.mm.) |  | 1 | Mtr | 100 |  |  | Excess(+) | 8000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | Errection of above Centralised material and Supply and errection of the below De-Centralised material for completing the works as per RESPO. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
59 | Providing and Fixing of suitable crimping lugs as per requirement. |  | 1 | Nos. | 100 |  |  | Excess(+) | 1200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | Safe Carriage of above dismentaling scarp material from Site to any store of PVVNL Discom including loading and unloading both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information