## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY DISTRIBUTION CIRCLE, A-BLOCK, HYDEL COLONY, KAVI NAGAR, GHAZIABAD.
Name of Work: fctusl Iyku ;kstuk 2025&26 ds vUrxZr fo/kqr forj.k [k.M eksnhuxj@eqjknuxj ds dk;Z{ks= esa 33 ds0oh ,oa 11 ds0oh0 {kfrxzLr oh0lh0oh0 cnyus] Vsyysl ;wfuV LFkkfir djus o 33@11 dsoh midsUnzksa dk lqn`<+hdj.k ,oa izksVsD'ku lEcU/kh dk;ZA
Tender No. 22/2025-26/E.D.C/GZB
Name of the Bidder/ Bidding Firm / Company : | [54 empty] | 1
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 8 | 8
1 | fctusl Iyku ;kstuk 2025&26 ds vUrxZr fo/kqr forj.k [k.M eksnhuxj@eqjknuxj ds dk;Z{ks= esa 33 ds0oh ,oa 11 ds0oh0 {kfrxzLr oh0lh0oh0 cnyus] Vsyysl ;wfuV LFkkfir djus o 33@11 dsoh midsUnzksa dk lqn`<+hdj.k ,oa izksVsD'ku lEcU/kh dk;ZA
2 | Safe Cartage of Centralized Line Material from Store center Modinagar/any other place to JE Store/Site of work including loading and unloading at both end.
2.1 | BATTERY CHARGER 24 VOLT |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.2 | BATTERY SET 24 VOLT |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.3 | EARTHING COMPLETE WITH MS ROD 20X2500 MM WITH 6SWG GI WIRE |  | 560 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.4 | 33 KV VCB 800 AMP |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.5 | 33 KV CONTROL PANEL FOR DOUBLE TRANSFORMER |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.6 | 11 KV VCB 400/200/5A |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Providing & Safe Cartage of Decentralized Line Material from any other place to JE Store/Site of work including loading and unloading at both end.
3.1 | LT BUS BAR WITH NUT BOLT SET(800 AMP) COPPER 9 INCH |  | 300 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.2 | LT BUS BAR WITH NUT BOLT SET(600 AMP) COPPER 9 INCH |  | 600 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.3 | CONTROL CABLE 4X2.25 MM SQ |  | 840 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.4 | CONTROL CABLE 2X2.25 MM SQ |  | 240 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.5 | CHEMICAL EARTHING |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.6 | BUS BAR FOR CONNECTING VCB |  | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Replacement/Installation of Material at Various 33/11 KV Substations at and Proper Completion of Work as per RESSPO Manual
4.1 | BATTERY CHARGER 24 VOLT |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.2 | BATTERY SET 24 VOLT |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.3 | 33 KV VCB 800 AMP |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.4 | 33 KV CONTROL PANEL FOR DOUBLE TRANSFORMER |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.5 | 11 KV VCB 400/200/5A |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.6 | CONTROL CABLE 4X2.25 MM SQ |  | 840 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.7 | CONTROL CABLE 2X2.25 MM SQ |  | 240 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.8 | CHEMICAL EARTHING |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4.9 | BUS BAR FOR CONNECTING VCB |  | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Installation of LT Bus Bar on Distribution Transformer at various site and Proper Completion of Work as per RESSPO Manual
5.1 | LT BUS BAR WITH NUT BOLT SET(800 AMP) COPPER 9 INCH |  | 300 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.2 | LT BUS BAR WITH NUT BOLT SET(600 AMP) COPPER 9 INCH |  | 600 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5.3 | Installation of Earthing with MS ROD 20x2500 mm with 6 SWG Earthing GI Wire on Various type of Distribution Transformerand Proper Completion of Work as per RESSPO Manual. |  | 560 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Providing and Complete Installation of LED Street Light with all Accessories in Various 33/11 KV Substation Yard and Proper Completion of Work as per RESSPO Manual. |  | 32 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Removing and Cartage of Old Materiel of Different Type of Material from Various Substation to Store Center Modinagar/Any Other Place including loading and unloading at both end.
7.1 | OLD & DAMAGE BATTERY AND CHARGER SCRAP |  | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.2 | 33 KV VCB IRON SCRAP |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.3 | 33 KV CONTROL PANEL IRON SCRAP3 |  | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.4 | 11 KV VCB IRON SCRAP |  | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Providing, fabricating carrying & fixing of Tailless Fuse Unit Hook type arrangement, circuit having 3 Phase + Neutral arrangement in Box / frame made of 65cmX65cmX6mm frame MS Angle with heavy duty Aluminium Lugs suitable for 500 Amp load on at least 2 ft height from ground on plinth for safe installation or fixing of tailness unit at MS angle frame on Plinth horizontially/vertically as per site requirement on available Plinth at safe height as per site conditions for electrical safety with making the connection at(160 KVA-250 KVA) T/f and line side complete. Each job includes 2 Tail Less Units; total 200 units for 100 jobs |  | 100 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Providing, fabricating carrying & fixing of Tailless Fuse Unit Hook type arrangement , circuit having 3 Phase + Neutral arrangement in Box / frame made of 65cmX65cmX6mm frame MS Angle with heavy duty Aluminium Lugs suitable for 500 Amp load on at least 2 ft height from ground on plinth for safe installation or fixing of tailness unit at MS angle frame on Plinth horizontially/vertically as per site requirement on available Plinth at safe height as per site conditions for electrical safety with making the connection at(400 KVA) T/f and line side complete. Each job includes 3 Tail Less Units; total 210 units for 70 jobs |  | 70 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Providing, fabricating carrying & fixing of Tailless Fuse Unit Hook type arrangement, circuit having 3 Phase + Neutral arrangement in Box / frame made of 65cmX65cmX6mm frame MS Angle with heavy duty Aluminium Lugs suitable for 800 Amp load on at least 2 ft height from ground on plinth for safe installation or fixing of tailness unit at MS angle frame on Plinth horizontially/vertically as per site requirement on available Plinth at safe height as per site conditions for electrical safety with making the connection at(630 KVA and Above) T/f and line side complete. Each job includes 4 Tail Less Units; total 48 units for 12 jobs |  | 12 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Erection & Installation Charges for Tail Less Unit. Each job includes 1 Tail Less Unit; total 458 units for 182 jobs. |  | 182 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Disconnecting of connected Control Cable, Earthing Strip, & 33 KV Jumper from existing old vcb. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Carriage of 33 KV VCB From Centre Store ModiNagar to Site of Work of 33 KV Sub Station including Loading & unloading at Both Ends. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Dismentaling of old & Defective 33 KV VCB. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Erection & Fixing of 33 KV New VCB Complete With Connecting of Control Cable, Earthing Strip and jumpering Properly. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Carriage of Old VCB Up To J.E Store. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Carriage of Different Type of material from centre store ModiNagar to J.E Store/Work site MuradNagar including Loading & unloading at both ends.
17.1 | 33 KV Double Feeder C&R Relay Panel. |  | 3 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.2 | 33 KV Single Feeder Panel. |  | 1 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.3 | 33 KV Line/Bus Isolator/Fuse Set. |  | 13 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.4 | MS Channel/Angle. |  | 140 | KG. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.5 | 33 KV CT/PT |  | 7 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Replacement of 33 KV Double Feeder/Single Feeder C&R Relay Panel with erection of New. |  | 4 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Replacement of 33 KV Line/Bus Isolator Complete With Jumpering Properly. |  | 6 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Replacement of 33 KV Fuse Set Complete With Jumpering Properly. |  | 7 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Fabrication, Fixing and Grouting of 33 KV Fuse Set/Isolator Structure. |  | 1 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Making Structure and Grouting of Fuse Set/Line/Bus Isolator Structure. |  | 1 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Replacement of 33 KV CT/PT Complete With Opening of jumper and Re-arrangement the same. |  | 7 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Carriage of old material from work site to j.e store.
24.1 | Damage 33 KV C&R Relay Panel. |  | 2 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24.2 | Damage 33 KV Line/Bus Isolator/Fuse Set. |  | 3 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24.3 | Damage 33 KV CT/PT. |  | 2 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Providing & fixing of PVC Wire for Lightening Arrangement for Switch yard at different Sub-Stations. |  | 300 | Mtr. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Providing & Fixing of 32 Amp MCB for Lightening Arrangement with MCB Box for Switch yard at different Sub-Stations. |  | 4 | Nos. |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information