## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-Rural, Muzaffarnagar, under the Business Plan 2025-26, Replacement of 05 No. 11 KV VCB installed at 33/11 KV sub-station Bhokerhedi 01 no. Incoming VCB + 04 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Alawalpur Mazra 01 no. Incoming VCB, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Lalukhedi 01 no. Incoming VCB + 02 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Bhopa 11 KV Behra thru feeder 01 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Bhopa 11 KV Karheda feeder 01 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Bhopa 11 KV Jatmujheda feeder 01 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Bhopa 11 KV Jolly feeder 01 no. Outgoing VCB, Replacement of 01 No. 11 KV VCB installed at 33/11 KV sub-station Bhopa 11 KV Incomming no.-3 feeder 01 no. Incomming VCB, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Sosouli 02 no. Outgoing VCB + 01 no. Incomming VCB, Replacement of 03 No. 11 KV VCB installed at 33/11 KV sub-station Sosouli 11 KV Sisouli PTW feeder, Mazra PTW feeder, Substation feeder 02 no. Outgoing VCB + 01 no. Incomming VCB, Increasing capacity from 100 to 250 KVA due to overloading of 100 KVA distribution transformer installed near the Azam House in village Sikri, Increasing capacity from 100 to 250 KVA due to overloading of 100 KVA distribution transformer installed near the Masjid in village Mazra, Increasing capacity from 100 to 250 KVA due to overloading of 100 KVA distribution transformer installed near the Maharshi Baba School in village Hadouli, Increasing capacity from 100 to 250 KVA due to overloading of 100 KVA distribution transformer installed near the Manoj Dairy in village Rehmatpur, the work to be done through external agency.
Contract No: 16/2025-26/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 11 KV VCB, I/C CTR 600/300/5A. 350 MVA 24, VOLT |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 11 KV VCB, O/G CTR 200/100/5A. 350 MVA |  | 15 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Cable AL. 3X185 sq.mm XLPE 11 KV |  | 50 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 11 KV Cable Jointing Kit Indoor (3x185 sq.mm) |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 11 KV Cable Jointing Kit Outdoor (3x185 sq.mm) |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Digging & Laying of Cable AL. 3X185 sq.mm XLPE 11 KV in Tranch with sand & brick and other necessary decentralized materials will be provide by the contractor / Firm. in 33/11 KV Substation premises. |  | 50 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, I/C CTR 600/300/5A. 350 MVA 24 VOLT. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete work of Removal of old / damaged 11 KV VCB, installed at 33/11 KV sub-station and installation and commissioning of new 11 KV VCB, O/G CTR 200/100/5A. 350 MVA. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 15 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of installation and commissioning of new 11 KV Cable Jointing Kit Indoor (3x185 sq.mm) at 33/11 KV sub-station. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of installation and commissioning of new 11 KV Cable Jointing Kit Outdoor (3x185 sq.mm) at 33/11 KV sub-station. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of Pipe Earthing (upto Water Level) of Established 11 KV VCB, O/G or I/C at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 32 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Supply of NUT & BOLTS and washer all Sizes required as per site. |  | 37 | K.G. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Supply of Fire Fighting equipments including 02 Nos. 4.5 Kg. Co2 Fire Extinguisher potable type and 02 Nos. Foam type Fire Extinguisher potable type. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Supply of SUNDRIES ITEM i.e. Rubber Matting for New 11 KV VCB at 33/11 KV Substation Bhokerhedi |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 11 KV VCB, I/C CTR 600/300/5A. OLD & DAMAGE |  | 5 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | 11 KV VCB, O/G CTR 200/100/5A. OLD & DAMAGE |  | 15 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Increasing the Capacity of 11/0.4 KV 250 KVA Distribution Transformers The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 11/0.4 KV Distribution Transformer 250 KVA |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | 11 KV FUSE SET |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | LINE MATERIAL (Pin/ Disc Insulator / fitting, LT PVC Cable, Stay ETC.) |  | 2 | Quintal | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Complete work of installation and commissioning of 11 KV FUSE SET on 11/0.4 KV 250 KVA Distribution Transformer installed at Various Site. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.02 | Complete work of Installing and Commissioning 250 KVA Distribution Transformer on established Plinth as per RESPO standards. In which all necessary Decentralized material will be provide & Centralized/ De-centralized Material Installed by the Contractor/Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.03 | Complete work of Making New plinth (Size 2x2x1.5 Meter) for 250 KVA Distribution Transformer as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.04 | Complete work of Making New Fencing for 250 KVA Distribution Transformer as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.05 | Complete work of Pipe Earthing (upto Water Level) of established 250 KVA Distribution Transformer as per RESPO standards. |  | 8 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.06 | Complete work of Installing and Commissioning Tailless Fuse Unit Installation (Marble Stone Distribution Board Double Ckt with M S Angle Frame Complete in all Respect and all necessary decentralized material will be provide by the Contractor/Firm.) on 11/0.4 KV 250 KVA Distribution Transformer as per RESPO standards. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.07 | Complete work of installation of Stay Set Complete with Stay Concreting on established Double pole & Single Pole of Line As per the RESPO standards. |  | 8 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.08 | Supply of Copper L-piece 50x225x10mm as per Respo Standards |  | 16 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.09 | Supply of Copper L-piece 62x225x12mm as per Respo Standards |  | 16 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | Supply of Al. Leg Long barrel off size (LS) as per Respo Standards |  | 96 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.11 | Supply of Incoming Stud for 400 Amp for Tailless Unit. as per RESPO standards |  | 24 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.12 | Supply of Outgoing Stud for 400 Amp for Tailless Unit. as per RESPO standards |  | 24 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.13 | Supply of Copper Bus Bar for Dist. Board Double Circuit for Tailless Unit. as per RESPO standards |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.14 | Supply of Copper Fuse Strip 240x10x3 mm for Tailless Unit. as per RESPO standards |  | 24 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.15 | Supply of Crimping Lugs for Tailless Unit. as per RESPO standards |  | 24 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.16 | Supply of Nut & Bolts for Tailless Unit. as per RESPO standards |  | 6 | K.G. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information