## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the working area of ​​Electricity Distribution Sub-Division-I & IV, Muzaffarnagar under Executive Engineer, Electricity Distribution Division-Charthawal, Muzaffarnagar. Business Plan 2025-26, Protection work to reduce the damage rate of 11/0.4 kV distribution transformers installed at the Various site, Replacement work of 33 KV Fuse set & Providing & Installation/Fixing Fire Extinguisher & WTI Meter at 33/11 KV Substation Pura, Plinth, Fencing Earthing & Fuse Set Installation work at 33/11 KV Substation Dinkarpur, Various established equipments Earthing work at 33/11 KV Substation Nirmana, Replacement work of 33 KV Line Isolator / 33 KV Bus Isolator at 33/11 KV Substation Beghrajpur Rural, Making New Plinth/Fencing & Repair Plinth & Fencing at 33/11 KV Substation Bijopura, Making New Plinth/Fencing at 33/11 KV Substation Datiyana, Pipe Earthing work & Providing & Installation/Fixing Bucket with Sand & Fire Extinguisher at 33/11 KV Substation Sanjhak (Barwala), Replacement work of 33 KV Lighting Arrestor / 33 KV CT / 33 KV Line Isolator / Fuse Set and Providing & Installation/Fixing Bucket with Sand & Fire Extinguisher at 33/11 KV Substation Khedi Dudhadhari, Replacement work of 33 KV Lighting Arrestor / Line Isolator and Providing & Installation/Fixing 11 KV Feeder Relay at 33/11 KV Substation Nayagoan Meerapur Lacheda, Replacement work of 11/0.4 KV DT TF Protection work Like:- Fuse Set/ Earthing/Concreting of Pole PVC Cable/Chemical Earthing/Fencing/ Repairing of Pilnth work at 33/11 KV Substation Sohjani Tagan & Replacement work of 33 KV Control Pannel & Armoured Control Cable at 33/11 KV Substation Beghrajpur Rural, the work to be done through external agency.
Contract No: 17/2025-26/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Substation Protection work The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV FUSE SET |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 11 KV FUSE SET |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 33 KV LINE ISOLATOR 800 A |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 33 KV BUS ISOLATOR 800 A |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 33 KV LIGHTING ARRESTER |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 33 KV CT 400/200/1-1-1A |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | 33 KV LINE ISOLATOR 800 A |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | 33 KV CONTROL PANEL for Double Transformer |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | LINE MATERIAL (Earthing, LT PVC Cable 3.5x150/70/400 Sqmm ETC.) |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. Dismantlement work will be included. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of installation and commissioning of 33 KV FUSE SET at 33/11 KV Substation Pura, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Providing of W.T.I. (Winding Temperature Indicator) & Complete Installing and Commissioning established Power Transformer at 33/11 KV Substation PURA as per RESPO norms. In which all necessary Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Providing and Installation on wall of Fire Extinguisher 5 K.G. (ISI Mark or high standard) at 33/11 KV sub-station Pura. as per RESPO standards. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete work of installation and commissioning of 11 KV FUSE SET at 33/11 KV Substation Dinkarpur area, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 10 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete work of Making New Fencing for 250 KVA Distribution Transformer under 33/11 KV Substation Dinkarpur Area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of Pipe Earthing (upto Water Level) of established 250 KVA Distribution Transformer under 33/11 KV Substation Dinkarpur area as per, RESPO standards. |  | 10 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Complete work of Making New plinth (Size 2x2x1.5 Meter) for 250 KVA Distribution Transformer under 33/11 KV Substation Dinkarpur area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Complete work of Pipe Earthing (upto Water Level) of established equipments at 33/11 KV Substation Nirmana, as per RESPO standards. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Complete work of installation and commissioning of 33 KV LINE Isolator 800 A at 33/11 KV Substation Beghrajpur Rural, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Complete work of installation and commissioning of 33 KV BUS Isolator 800 A at 33/11 KV Substation Beghrajpur Rural, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Complete work of Making New plinth (Size 2x2x1.5 Meter) for 250 KVA Distribution Transformer under 33/11 KV Substation Bijopura area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | Complete Repairing work of Plinth established 11/0.4 KV Distribution Transformer under 33/11 KV Substation Bijopura area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.13 | Complete work of Making New Fencing for 250 KVA Distribution Transformer under 33/11 KV Substation Bijopura Area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.14 | Complete Repairing work of Fencing established 11/0.4 KV Distribution Transformer under 33/11 KV Substation Bijopura area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.15 | Complete work of Making New plinth (Size 2x2x1.5 Meter) for 250 KVA Distribution Transformer under 33/11 KV Substation Datiyana area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 5 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.16 | Complete work of Making New Fencing for 250 KVA Distribution Transformer under 33/11 KV Substation Datiyana Area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.17 | Complete work of Pipe Earthing (upto Water Level) of established Power Transformer No. 1 & 2 at 33/11 KV Substation Sanjhak (Barwala), as per RESPO standards. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.18 | Providing and Installation of Iron Bucket with Sand (06 no. in one 1 Set) (ISI Mark or high standard) at 33/11 KV sub-station Sanjhak (Barwala). as per RESPO standards. |  | 2 | Set | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.19 | Providing and Installation on wall of Fire Extinguisher 5 K.G. (ISI Mark or high standard) at 33/11 KV sub-station Sanjhak (Barwala). as per RESPO standards. |  | 7 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | Complete work of installation and commissioning of 33 KV LIGHTING ARRESTER at 33/11 KV Substation Khedi Dudhadhari, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.21 | Providing and Installation of Iron Bucket with Sand (06 no. in one 1 Set) (ISI Mark or high standard) at 33/11 KV sub-station Khedi Dudhadhari. as per RESPO standards. |  | 2 | Set | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.22 | Providing and Installation on wall of Fire Extinguisher 5 K.G. (ISI Mark or high standard) at 33/11 KV sub-station Khedi Dudhadhari. as per RESPO standards. |  | 7 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.23 | Complete work of installation and commissioning of 33 KV CT 400/200/1-1-1A at 33/11 KV Substation Khedi Dudhadhari, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.24 | Complete work of installation and commissioning of 33 KV Line Isolator at 33/11 KV Substation Khedi Dudhadhari, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.25 | Complete work of installation and commissioning of 33 KV Fuse Set at 33/11 KV Substation Khedi Dudhadhari, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.26 | Providing of 11 KV FEEDER Relay & Complete Installing and Commissioning, 11 KV Feeder at 33/11 KV Substations Nayagoan Meerapur lacheda as per RESPO norms. In which all necessary Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.27 | Complete work of installation and commissioning of 33 KV Line Isolator at 33/11 KV Substation Nayagoan Meerapur lacheda , as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.28 | Complete work of installation and commissioning of 33 KV LIGHTING ARRESTER at 33/11 KV Substation Nayagoan Meerapur lacheda, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 6 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.29 | Complete work of Pipe Earthing (upto Water Level) of established equipments at 33/11 KV Substation Nayagoan Meerapur lacheda, as per RESPO standards. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.3 | Complete work of installation and commissioning of 11 KV FUSE SET at established 100 KVA & 250 KVA Distribution Transformer at 33/11 KV Substation Sohjani Tagan area, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.31 | Complete work of installation and commissioning of Earthing Complete at established 100 KVA Distribution Transformer at 33/11 KV Substation Sohjani Tagan area, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.32 | Complete work of Pole concreting on established Pole as per RESPO standards. In which cement, sand and other necessary decentralized material will be provide by the Contractor/Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.33 | Complete Replacement work of old/Jar-jar Cable to New LT PVC Cable 3.5x150/70 Sqmm at established 11/0.4 KV DT TF at 33/11 KV Substation Sohjani Tagan area, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 60 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.34 | Complete Replacement work of old/Jar-jar Cable to New LT PVC Cable 3.5x400 Sqmm at established 11/0.4 KV DT TF at 33/11 KV Substation Sohjani Tagan area, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 20 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.35 | Complete work of Chemical Earthing of 250 KVA DT TF at 33/11 KV Substation Sohjani Tagan, as per RESPO standards. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.36 | Complete work of Making New Fencing for 250 KVA Distribution Transformer under 33/11 KV Substation Sohjani Tagan Area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.37 | Complete Repairing work of Plinth established 11/0.4 KV Distribution Transformer under 33/11 KV Substation Sohjani Tagan area, as per RESPO standards. In which cement, sand and other necessary Decentralized material will be provide by the Contractor/Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.38 | Complete work of installation and commissioning of 33 KV Control Pannel for Double Transformer at 33/11 KV Substation Beghrajpur Rural, as per RESPO standards. All Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.39 | Complete work of Laying/Installing Control Cable 4x2.5 Sqmm at 33/11 KV Substation Nairana as per RESPO standards, All Decentralized materials will be provide by the contractor / Firm. |  | 180 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | Complete work of Laying/Installing Control Cable 2x2.5 Sqmm at 33/11 KV Substation Nairana as per RESPO standards, All Decentralized materials will be provide by the contractor / Firm. |  | 100 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.41 | Supply of Control Cable 4x2.5 Sqmm as per Respo Standards |  | 180 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.42 | Supply of Control Cable 2x2.5 Sqmm as per Respo Standards |  | 100 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 33 KV FUSE SET Damage Scrap |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 33 KV ISOLATOR Damage Scrap |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | 33 KV CT Damage Scrap |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | 33 KV Isolator Damage Scrap |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | 11 KV Relay Damage Scrap |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.06 | 33 KV CONTROL PANEL DAMAGE SCRAP |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note : The prices of all other equipment/materials/works shall be 'FIRM' in all respect. The equipment/materials/works shown in price bid are the general requirement for the entire scope of the work and do not merely represent specific activities. Any related materials/works not specifically mentioned in the BOQ but required for systematic and complete installation/erection of the equipment/materials/works mentioned in the price bid, shall be supplied by the contractor at his own cost.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information