## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER ELECTRICITY DISTRIBUTION CIRCLE-I, SAHARANPUR
Name of Work: fo¦qr forj.k [k.M&nsocUn ds vUrxZr fo¦qr forj.k mi[k.M&nsocUn Vkmu ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr 11 ds0oh0 ykbZu@,y0Vh0 ykbZu ij fn;s tkus okys u;s la;kstuks dks fuxZr djus o vU; dk;Z N% ekg vof/k gsrq jfuax dkUVªsDV ds ek/;e djk;s tkus okys dk;ZA
Contract No: 34/W/EDC-I/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) GST as applicable shall be paid extra.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder without GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of ST/ PCC poles up to 8.5/9/11/13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.Up to 40 Km.) | BI01010001010000000000000515BI0100001113 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material / 11 KV XLPE cable / ABC cable (Except PCC /ST Poles) from ESC, SRE/ JE store to site of work at various sites including loading, unloading at both ends.( Dist.App. 0 to 40 Km.) |  | 1 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Safe cartage of 10/25/63/ 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Safe cartage of 250 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safe cartage of CT/PT Unit from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safe cartage of Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Erection of single support on ST/ PCC poles up to 8.5/9/11/13 Mtr Mtr Long with complete fitting of all accessories of 11 KV/LT line. complete. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Erection of double Pole on ST/ PCC poles up to 8.5/9/11/13 Mtr Mtr Long with complete fitting with all accessories complete. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing and Fixing of Stone Ped 300x300x75 |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Earthing of poles by earthing rod |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Providing of All type MS Clamp for ST/ PCC poles with nuts bolts made of new MS flat iron 50x6 mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing of LT shekel insulator of size 100x115mm |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing of nuts & bolts of various sizes. |  | 1 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing of Suspention clamp with I- Hook |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing of Dead end clamp with I- Hook |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing of Piercing connector Diff. size. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Providing of 11 KV/LT cable terminations kit out door & indoor of size 3X35/3x70/ 3X120/3x185/3x300 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing of Danger Board |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Providing of G.I. Pipe 100mm 4'' dia Class B |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Providing of Red Oxide Paint |  | 1 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Providing of Aluminum Paint |  | 1 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Removal of old weasel/ Rabbit conductor from the Existing 11KV/ LT lines with making roll of conductor and shifting the same to ESC, SRE/J.E store including loading and unloading at both ends. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Dog Conductor for 11KV/LT Line including complete. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Removal of 10/25/63 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the site to ESC, SRE/JE store with loading & unloading at both ends. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Safe installation of 10/25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Construction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1.5 Mtr. made of 9" thick wall in all the four sides with 6" thick RCC top duly filled with sand & plastered 12 mm. thick in ratio 1:4 with cement & sand on outer surface of brick wall . |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Safe installation of 250 KVA T/F on the Plinth with complete fittings including making HT connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Providing of Aluminum Bolted Type lug of size 240 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Laying and making connections of LT XLPE cable 3.5x240 sq.mm. from T/F to double pole (approx to 30 Mtr). |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Providing and fixing of wire mesh fencing size 2.5x2.5x2.5 mt. grouting making frame of MS angal 35x35x5 mm and fixing four no. MS strip size 25x6 mmat equal distance in between the frame and fixing square mesh 50 mm square in each frame the fencing should cover all side of T/F with providing 1 No. door size 6’x3’ with sitakni & Dandala. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Safe installation of CT/PT Unit on the double pole with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Safe installation of Metering cubical in the room with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Chemical Earthing of Metering cubical/ CT/PT Unit/250 KVA T/F and connecting with G.I. Strip of size 35X4 mm to the Metering cubical/ CT/PT Unit Complete Properly. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.39 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | Laying, lifting, stringing proper sagging of 11 KV XLPE cable 3X35/3x70/ 3X120/3x185/3x300 sq mm of including complete etc |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.41 | Making of 11 KV cable terminations kit out door & indoor of size 3X35/3x70/ 3X120/3x185/3x300 sq mm. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.42 | Laying and making connections of LT PVC/XLPE cable 4x16/4x25/4x35/3.5x50/3.5x70/ 3.5x150/ sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.43 | Fabrication charges of Angle & Channal |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.44 | Fixing of G.I. pipe 100mm 4'' dia 3.5 mtr. long at the both side of double pole. |  | 1 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.45 | Concreting of ST poles SP-55, 11/13 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.46 | Dismantling of existing PCC/ST pole after opening of complete accessories. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.47 | Off shooting of tree branches touching the 11 KV/LT line. | BI01010001010000000000000515BI0100001114 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information