## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER ELECTRICITY DISTRIBUTION CIRCLE-I, SAHARANPUR
Name of Work: fo¦qr forj.k [k.M&cssgV ds vUrxZr iw.kZ tek ;kstuk ds vUrxZr djk;s tkus okys fofHkUu dk;ZA
Contract No: 36/W/EDC-I/SRE/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) GST as applicable shall be paid extra.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder without GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of 10/25/63 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) | BI01010001010000000000000515BI0100001113 | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriag 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Safely carriag 250 kVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Safely Carriage of Fuse set from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safely Carriage of TPMO from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safely Carriage of ST/PCC Pole 8.5/11 Mtr Long from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 39 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Safely Carriage of XLPE Cable from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 80 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Safely Carriage of Metering Cubical from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Safely Carriage of CT/PT from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Safely Carriage of ABC Conductor 3x95/3x50 from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 397 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Safely Carriage of Weasel Conductor from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 940 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Safely Carriage of Rabbit Conductor from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 2150 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Safely Carriage of Line Material (Except PCC/ST/Conductor/ABC/CT/PT) from ESC,SRE, to the site of work including loading & unloading at both ends (Distance about 0 to 25) |  | 0.5 | ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Erection of single support on ST/ PCC poles up to 8.5/9/11 Mtr Long with complete fitting of all accessories of 11 KV/LT line. complete. |  | 33 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Concreting of PCC/ST Pole with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. |  | 39 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Erection of double Pole on ST/ PCC poles up to 8.5/9/11 Mtr Mtr Long with complete fitting with all accessories complete. |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Safe installation of 10/25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Safely Installtion of Fuse Set and Connection properly |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Safely Installtion of TPMO and Connection properly |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 16 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Grouting of Stay |  | 16 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Earthing of pole by earthing road |  | 41 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Construction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1.5 Mtr. made of 9" thick wall in all the four sides with 6" thick RCC top duly filled with sand & plastered 12 mm. thick in ratio 1:4 with cement & sand on outer surface of brick wall . |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Providing and fixing of wire mesh fencing size 2.5x2.5x2.5 mt. grouting making frame of MS angal 35x35x5 mm and fixing four no. MS strip size 25x6 mmat equal distance in between the frame and fixing square mesh 50 mm square in each frame the fencing should cover all side of T/F with providing 1 No. door size 6’x3’ with sitakni & Dandala. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Providing and fixing of Double Circuit Tail less unit 300 Amp in coming circuit connected with copper bus bar of proper ratting for 160/250 KVA T//F in the frame made of MS Angle 45x45x5 mm fitted with GI Nut bolts and fixing the same top of plinth/near ground level as per site requirement. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Chemical Earthing of 250 KVA T/F |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 940 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 2150 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Laying, lifting, Stringing, proper sagging ABC cable of size LT ABC Conductor (3x95+1x70+1x16) Sq.mm including fixing of all accessories. |  | 292 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Laying, lifting, Stringing, proper sagging ABC cable of size LT ABC Conductor (3x50+1x35+1x16) Sq.mm including fixing of all accessories. |  | 105 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Laying of XLPE Cable size 3x120sq.mm |  | 80 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Filling of Jointing kit O/D & I/D 3x120 sq.mm |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Laying of LT Cable 1x25 sq.mm |  | 40 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Laying of 3.5x240 sq.mm LT Cable |  | 15 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.35 | Providing and fixing of Stone Pad 300x300x75 mm |  | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.36 | Providing and fixing of GI Pipe 6" Dia |  | 16 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.37 | Providing and fixing of Barbed wire |  | 44 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.38 | Providing and fixing of Danger Board |  | 19 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.39 | Providing and fixing number plate with Nut & Bolt |  | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | Providing and fixing of Clamp with nut & bolt |  | 108 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.41 | Providing and fixing of LT Fuse Box |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.42 | Providing and fixing of Nut & Bolt |  | 23 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.43 | Providing and fixing of J-Hook |  | 11 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.44 | Providing and fixing of Piercing Clamp |  | 44 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.45 | Providing and fixing of Suspension Clamp |  | 13 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.46 | Providing and fixing of Dead & Clamp |  | 6 | no |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.47 | Safely Fixing of Three Phase Distribution Box |  | 11 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.48 | Removal of 25 KVA T/F from site of work to ESC SRE including loading and unloading at both ends. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.49 | Removal of IRON Scrape /Weasel Conductor from site of work to ESC SRE including loading and unloading at both ends. | BI01010001010000000000000515BI0100001114 | 75 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information