## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER ELECTRICITY DISTRIBUTION CIRCLE-I, SAHARANPUR
Name of Work: fo¦qr forj.k [k.M&csgV ds vUrxZr ekSgYyk egktuku QhMj ij {kfrxzLr ,0ch0lh0 dsfcy cnyus o ,y0Vh0 dsfcy ckWDl cnyus dk dk;Z] e.Mh jksM] isij] eks0 [kkylk ,ao Vsyh Qksu ,Dlpsat ds ikl 63 ds0oh0,0 ds ifjorZd cnyus dk dk;Z] xzke dknjiqj es 250 ds0oh0,0 ifjorZd dh ,y0Vh0 jksM cnyus] isfdax vkSj Vsi pastj dh fji;sfjax dk dk;Z] jk;iqj&f}rh; ij ,d ua0 {kfrxzLr bUdfeax oh0lh0ch0 cnyus dk dk;Z o cSVjh vkSj cSVjh pktZj yxkus dk dk;Z o iqjkuk LVksj esa tek djus dk dk;Z ,ao Fkkus ds ikl] e.Mh jksM o dczhLrku ds ikl vfFkZax dk dk;Z] [kq’kgkyhiqj es cSVjh o cSVjh pktZj cnyus dk dk;Z] rglhy csgV o csgV nsgkr midsUnz ij 33 ds0oh0 cszdj dh fji;sfjax o dkWby cnyus dk dk;ZA
S.T.E-Tender No: 37/W/EDC-I/SRE/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) GST as applicable shall be paid extra.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder without GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Repairing of 33 KV Breacker and Replacement of Damage coil. | BI01010001010000000000000515BI0100001113 | 2 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of LT ABC Cable size 3x120 sq. from ESC SRE to site of work including loading and unloading at both ends. |  | 350 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 350 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Removal of old and damage ABC cable from site of work to ESC SRE including loading and unloading at both ends. |  | 280 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Removal of 63 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the site to ESC, SRE/JE store with loading & unloading at both ends. |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safe cartage of 63 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Safe installation of 63KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing and fixing of LT Road of 250 KVA T/F in Village Kadarpura. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Repairing of packing and Tap Changer of 250 KVA T/f in Village Kadarpura. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Safely carriage of 11 KV VCB (1 No) from ESC SRE to Site of work including loading and unloading at both ends. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Safely installation of 11 KV VCB connection properly. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Removal of Damage 11 KV VCB from site of work to ESC SRE including loading and unloading at both ends. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Safely Carriage of 24 Volt Battery Set and Battery Charger from ESC SRE to Site of work including Loading and unloading at both ends. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Safely Installation of 24 Volt Battery Set and Battery Charger properly. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Safely removal of damage Battery Charger & 24 Volt Battery Set from site of work to ESC SRE including loading and unloading at both ends. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | water level Earthing of 03 No 400 KV T/F (1 No body & 1 No. neutral earthing) by boring of till water level minimum 60 Ft deep & fixing of G.I pipe 11/2" Dia (Jindal Class B) and connecting with G.I. Strip of size 50x6 mm and copper strip at bottom of G.I pipe to the T/F providing of required charcoal & salt in the pipe |  | 6 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information