## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fo¦qr uxjh; forj.k [k.M&Vkmu gky] eqt¶Qjuxj ds vUrxZr iw.kZ tek ;kstuk en esa Mcy iksy Mh0,l0 ifCyd Ldwy ls js'kw fogkj QkVd rd ekxZ pkSMhdj.k esa ck/kd ,0 Vw tSM0 QhMj dh 11 dsoh fo¦qr ykbZu] ,y0Vh0 ykbZu dks f'k¶V djus dk dk;Z ,oa Jh jbZlqíhu iq= Jh ulhcqíhu] fuoklh 48x@10] ljoV] eqt¶Qjuxj dh dk'r Hkwfe lkbZV xzke ulhjiqj] eqt¶Qjuxjds Åij ls xqtj jgh 33@11 dsoh fo¦qr midsUnz ipS.Mk jksM ls iksf"kr 11 dsoh ckxksokyh QhMj dh ykbZu dks vU; LFkku ij f'k¶V djus dk dk;ZA
E-TENDER No. 15/EUDC MZN/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Carrage of following line materials from ESC to work site inculding safe loading and unloading at both ends as per site condition :-
1.01 | ST Pole 11 mtr Long |  | 29 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | Earthing set complete |  | 29 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | 11 KV X-arms V-Type |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | GI- wire 6/4/8/10 SWG for garuding |  | 535 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | ACSR dog conductor |  | 50 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | ACSR Rabbit conductor |  | 2460 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | LT ABC Cable (3x95+1x70+1x16) Sqmm. |  | 210 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | LT Distribution Box 3 Phase |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | LT AL XLPE CABLE 1CX120 SQMM |  | 60 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | STAY SET COMPLETE |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 11 KV POLYMERIC PIN INSULATER |  | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 11 KV POLYMERIC DISC INSULATE |  | 30 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | 11 KV DISC FITTING |  | 30 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | 11 KV D/O FUSE SET |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.15 | 11 KV TPMO switch |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.16 | MS channel/angle |  | 420 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Errection of Single Support of ST Pole 11 Mtr Long and fixing all accessories as per norms (Nut, bolts, stone pad, Peirceing connector, Ten Buckeel, MID span jointing sleeve and clamps will be provided by contractor as per required) |  | 23 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Errection of Double Pole Structure of ST Pole 11 Mtr Long and fixing all accessories as per norms(Nut, bolts, stone pad, Peirceing connector, Ten Buckeel, MID span jointing sleeve and clamps will be provided by contractor as per required) |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Laying of ACSR Rabbit Condouctor |  | 2460 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Laying of ACSR Dog Condouctor |  | 50 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Febrication of MS channel/angle |  | 420 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Providing and fixing of G.I. barbed wire |  | 8 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Laying of LT ABC Cable (3x95+1x70+1x16) Sqmm. (Nut, bolts and clamps will be provided by contractor) |  | 210 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Installation and commissioning of LT distribution box 3 phase |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Laying of LT AL XLPE CABLE 1CX120 SQMM |  | 60 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Errection fo 11 KV Fuse Set |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Errectiono f 11 KV TPMO switch |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Guarding of 11 KV Line with (Holding clamp with bolts and nut, EYE bolt will be bprovided by contractor) |  | 19 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Errection of earthing complete (Fixing All Accessories As Per Norms) |  | 29 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Errection of stay complete and Grouting of stay rods including all work of excavation, cement concreet in size .60x.60x.30mm in ration 1:4:4 (Cement, sand, 40mm brick ballast) as per drg. including back filling & proper ramming etc. with fixing tightening & nuzzling of stay set with the pole (all material provided by contractor). |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Grouting of Pole with cement, sand, bricks CC ratio1:4:4 as per RESPO norms (all material provided by contractor). |  | 29 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Dismentiling of 100 KVA transformer form D/P and safely carriage to new site |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Boring for earthing of Transformer by bokki process of 100 mm dia and work of deep boring of water level lowering of 32 mm dia with providing ISI Class GI Pipe in the boring upto 80 feet depth with the halp of threading and socket and laying of 20x5 sqmm MS strip from the pipe upto the top with the help of proper electric welding. This earthing strip has to connected to the transformer body properly with proper nuts and bolts etc. (all materials provided by contractor) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Boring for earthing of Transformer by bokki process of 100 mm dia and work of deep boring of water level lowering of 32 mm dia with providing ISI Class GI Pipe in the boring upto 80 feet depth with the halp of threading and socket and laying of 20x5 sqmm MS strip from the pipe upto the top with the help of proper electric welding. This earthing strip has to connected to the transformer netural properly with proper nuts and bolts etc. (all materials provided by contractor) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Errection of 100 KVA transformer on D/P and connection of LT and HT side (Lugs will be provided by contractor) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Cutting and choping of tree branches new 11 KV line |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Providing and fixing of danger board with clamp. |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Providing and fixing of number plate with clamp. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Providing of alluminium paint and painting of electric poles |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Providing of Red oxide paint and paintng of electric poles |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Opening & reconnecting of the LT consumer cable |  | 31 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Dismentiling of following materials and carrage of materials from site to JE Store inculding safe loading and unloading at both ends as per site condition -
31.01 | Iron Scrap |  | 2100 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31.02 | All. Conductor Scrap |  | 750 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information