Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz vkbZ0Vh0vkbZ0 ls iksf"kr 11 ds0oh0 ykbZu lkbZV uoknk jksM ds ikl pdjksM ij 11 ds0oh0 rkgkjiqj QhMj dh ykbZu ,ao fonqj ds Mcy iksy dks f'k¶V djus ds dk;Z dk djkus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of ST poles 11 Mtr. from ESC, SRE/JE store to site of work including loading & unloading at both ends.(Dist.Up to 40 Km.) | No. | 10 |
| 2 | Safely cartage of other complete line material (Except ST Poles/11 KV XLPE cable) from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Ton. | 1 |
| 3 | Safely cartage of 11 KV XLPE cable size 3x120sq mm from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Mtr. | 180 |
| 4 | Erection of single support on ST poles up to 13 Mtr Long with complete fitting of all accessories of 11 KV line. complete. | No. | 4 |
| 5 | Erection of double Pole on ST poles 11 Mtr Long with complete fitting with all accessories complete. | No. | 3 |
| 6 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 SWG and fitting the same on the pole | No. | 7 |
| 7 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand | No. | 7 |
| 8 | Earthing of poles by earthing rod with GI wire. | No. | 10 |
| 9 | Providing and Fixing of Stone Ped 300x300x75 | No. | 10 |
| 10 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 57 |
| 11 | Providing of nuts & bolts of various sizes. | Kg. | 25 |
| 12 | Providing of 11 KV cable terminations kit out door of size 3X120 sq mm. | No. | 4 |
| 13 | Providing of HDPE Pipe 160mm dia | Mtr. | 110 |
| 14 | Providing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 14 |
| 15 | Removal of old weasel conductor from the Existing 11KV lines with making roll of conductor and shifting the same to ESC, SRE/J.E store including loading and unloading at both ends. | Mtr. | 180 |
| 16 | Providing and fixing of Number plate with clamp on the each pole. | No. | 10 |
| 17 | Providing and Fixing 11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with | No. | 10 |
| 18 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 20 |
| 19 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 10 |
| 20 | Providing of Alluminium Paint (British/Asian/enamel paint) | Ltrs | 10 |
| 21 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc. | No. | 10 |
| 22 | Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine/JCB machine/ labour. | Mtr. | 110 |
| 23 | Laying of 11 KV XLPE cable 3X120sq mm in the 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance. | Mtr. | 180 |
| 24 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x120 sq mm of outdoor. | No. | 4 |
| 25 | Fixing of G.I. pipe 100mm 4'' dia 3.5 mtr. long at the both side of double pole. | Mtr. | 14 |
| 26 | Hanging of cable on D/P after Fixing of outdoor terminations kits work as per site condition with jumpring complete. | Job | 2 |
| 27 | Fabrication charges of Angle & Channal | Job | 3 |
| 28 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 10 |
| 29 | Dismantling of existing PCC pole after opening of complete accessories. | No. | 4 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz vkbZ0Vh0vkbZ0 ls iksf"kr 11 ds0oh0 ykbZu lkbZV uoknk jksM ds ikl pdjksM ij 11 ds0oh0 rkgkjiqj QhMj dh ykbZu ,ao fonqj ds Mcy iksy 11 ds0oh0 eukuh QhMj dh xzke fNncuk jksM ij tk jgh dks f'k¶V djus ds dk;Z djkus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of ST poles 11 Mtr. from ESC, SRE/JE store to site of work including loading & unloading at both ends.(Dist.Up to 40 Km.) | No. | 14 |
| 2 | Safely cartage of other complete line material (Except ST Poles/11 KV XLPE cable) from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Ton. | 2 |
| 3 | Safely cartage of 11 KV XLPE cable size 3x120sq mm from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Mtr. | 360 |
| 4 | Erection of single support on ST poles up to 13 Mtr Long with complete fitting of all accessories of 11 KV line. complete. | No. | 4 |
| 5 | Erection of double Pole on ST poles 11 Mtr Long with complete fitting with all accessories complete. | No. | 5 |
| 6 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 SWG and fitting the same on the pole | No. | 11 |
| 7 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand | No. | 11 |
| 8 | Earthing of poles by earthing rod with GI wire. | No. | 14 |
| 9 | Providing and Fixing of Stone Ped 300x300x75 | No. | 14 |
| 10 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 97 |
| 11 | Providing of nuts & bolts of various sizes. | Kg. | 40 |
| 12 | Providing of 11 KV cable terminations kit out door of size 3X120 sq mm. | No. | 8 |
| 13 | Providing of HDPE Pipe 160mm dia | Mtr. | 220 |
| 14 | Providing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 28 |
| 15 | Removal of old weasel conductor from the Existing 11KV lines with making roll of conductor and shifting the same to ESC, SRE/J.E store including loading and unloading at both ends. | Mtr. | 220 |
| 16 | Providing and fixing of Number plate with clamp on the each pole. | No. | 14 |
| 17 | Providing and Fixing 11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with | No. | 14 |
| 18 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 28 |
| 19 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 14 |
| 20 | Providing of Alluminium Paint (British/Asian/enamel paint) | Ltrs | 14 |
| 21 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc. | No. | 14 |
| 22 | Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine/JCB machine/ labour. | Mtr. | 220 |
| 23 | Laying of 11 KV XLPE cable 3X120sq mm in the 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance. | Mtr. | 360 |
| 24 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x120 sq mm of outdoor. | No. | 8 |
| 25 | Fixing of G.I. pipe 100mm 4'' dia 3.5 mtr. long at the both side of double pole. | Mtr. | 28 |
| 26 | Hanging of cable on D/P after Fixing of outdoor terminations kits work as per site condition with jumpring complete. | Job | 4 |
| 27 | Fabrication charges of Angle & Channal | Job | 5 |
| 28 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 14 |
| 29 | Dismantling of existing PCC pole after opening of complete accessories. | No. | 6 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-II

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ ds dk;Z {ks= esa fofHkUu

33@11 ds0oh0 midsUnzks lEcfU/kr 33 ds0oh0 o 11 ds0oh0 ,oa ,y0Vh0 ykbZuksa dk ejEerhdj.k

,ao lqn`<hadj.k o estj czsdMkmu] vkfn dk;Z 6 ekg dh vof/k ds fy;s jfuax dkWUVsªDV ds ek/;e

ls djkus dk fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. | No. | 1 |
| 2 | Safely cartage of line material (Except PCC /ST Poles) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. | Ton. | 1 |
| 3 | Erection of single support on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/ 11 KV / LT lines. | No. | 1 |
| 4 | Re-Straightening of tilted ST/ PCC poles up to 13 Mtr. long of 33 KV/ 11 KV / LT lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 5 | Re-strengthening of tilted D/P (PCC/ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole the same properly. | No. | 1 |
| 6 | Re-sagging of loose conductor of 11 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 7 | Re-sagging of loose conductor of 33 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 8 | Re-sagging of loose ABC cable with opening consumer cable connections and Re- connections the same complete in all respect. | Span | 1 |
| 9 | Re-straightening of tilted X-arm with opening of complete fitting jumpers and re-fitting the same after re-strengthening of tilted X-arm properly. | No. | 1 |
| 10 | Tightening of loose stay including opening, binding & nozzling of stay wire. | No. | 1 |
| 11 | Replacement of broken/damaged Disc & Pin insulators | No. | 1 |
| 12 | Off shooting of tree branches touching the 33 KV/11 KV line. | Job | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz 'kkdqEcjh fcgkj lgkjuiqj ls vkokl fodkl ,ao iSjkekmUV QhMj dks tksMus dks tksMus ds dk;Z djkus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST poles 11 Mtr. from ESC, SRE/JE store to site of work including loading & unloading at both ends.(Dist.Up to 40 Km.) | No. | 6 |
| 2 | Safely cartage of other complete line material (Except ST Poles/11 KV XLPE cable) from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Ton. | 3 |
| 3 | Safely cartage of 11 KV XLPE cable size 3x185sq mm from ESC, SRE/ JE store to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Mtr. | 750 |
| 4 | Erection of single support on ST poles up to 13 Mtr Long with complete fitting of all accessories of 11 KV line. complete. | No. | 8 |
| 5 | Erection of double Pole on ST poles 11 Mtr Long with complete fitting with all accessories complete. | No. | 4 |
| 6 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 SWG and fitting the same on the pole | No. | 5 |
| 7 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand | No. | 5 |
| 8 | Earthing of poles by earthing rod | No. | 14 |
| 9 | Providing and Fixing of Stone Ped 300x300x75 | No. | 14 |
| 10 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 99 |
| 11 | Providing of nuts & bolts of various sizes. | Kg. | 42 |
| 12 | Providing of 11 KV cable terminations kit out door of size 3X185 sq mm. | No. | 24 |
| 13 | Providing of HDPE Pipe 160mm dia | Mtr. | 170 |
| 14 | Providing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 54 |
| 15 | Providing and fixing of Number plate with clamp on the each pole. | No. | 14 |
| 16 | Providing and Fixing 11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") | No. | 14 |
| 17 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 28 |
| 18 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 14 |
| 19 | Providing of Alluminium Paint (British/Asian/enamel paint) | Ltrs | 14 |
| 20 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminium paint including all channels/clamps etc. | No. | 14 |
| 21 | Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine/JCB machine/ labour. | Mtr. | 170 |
| 22 | Laying of 11 KV XLPE cable 3X185sq mm in the 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance. | Mtr. | 170 |
| 23 | Digging of new trench & Laying of XLPE cable size 3x185 Sq. mm 11 KV out going to D/P 2 No. Parreral cable on 0.5 meter distance.by JCB machine/ labour. and covered with new bricks, sand and there after proper earth filling with ramming at 33/11 KV S/S | Mtr. | 560 |
| 24 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x185 sq mm of outdoor. | No. | 24 |
| 25 | Fixing of G.I. pipe 100mm 4'' dia 3.5 mtr. long at the both side of double pole. | Mtr. | 54 |
| 26 | Hanging of cable on D/P after Fixing of outdoor terminations kits work as per site condition with jumpring complete. | Job | 8 |
| 27 | Fabrication charges of Angle & Channal | Job | 4 |
| 28 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 14 |
| 29 | Off shooting of tree branches touching the 11 KV line. | Job. | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz ‘kkdqEcjh fogkj ls u;s 11 ds0oh0 eoh dyk iks"kd dk fuekZ.k dk;Z djus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of 11 KV XLPE cable size 3x120sq mm from ESC, SRE to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Mtr. | 60 |
| 2 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 14 |
| 3 | Providing and fixing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 06 |
| 4 | Digging of new trench & Laying of cable XLPE size 3x185 Sq. mm covered with new bricks, sand and there after proper earth filling with ramming at complete. | Mtr. | 60 |
| 5 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x185 sq mm of outdoor. | No. | 04 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz ‘kkdqEcjh fogkj ls vkokl fodkl ,ao iSjkekmUV QhMj dks tksMus ds dk;Z djkus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of 11 KV XLPE cable size 3x120sq mm from ESC, SRE to site of work including loading, unloading at both ends.( Dist.UP to 40 Km.) | Mtr. | 140 |
| 2 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 08 |
| 3 | Providing and fixing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 06 |
| 4 | Digging of new trench & Laying of cable XLPE size 3x185 Sq. mm covered with new bricks, sand and there after proper earth filling with ramming at complete. | Mtr. | 140 |
| 5 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x185 sq mm of outdoor. | No. | 04 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz ‘kkdqEcjh fogkj ls vkS|ksfxd rrh; iks"kd dks tksMus ds dk;Z djus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of ST poles 11 Mtr. from ESC, SREto site of work including loading & unloading at both ends. | No. | 12 |
| 2 | Safely cartage of other complete line material (Except ST Poles) from ESC, SRE to site of work including loading, unloading at both ends. | Ton. | 1 |
| 3 | Erection of single ST poles SP-55 11 Mtr. Long with completing fitting of all accessories of 11 KV line as per RESPO Specifications. | No. | 6 |
| 4 | Fabrication and Erection of double pole SP-55 11 Mtr. long ST Poles with complete fitting of all accessories with bracings as per RESPO Specifications. | No. | 3 |
| 5 | Grouting of stay rod (16x1800) mm including all work exacavation, cement, concreting in size (0.60x0.60x0.30) mm in ratio 1:4:8 cement, sand, 40 mm brick ballast) including back filling and proper ramming etc. & nuzzling of stay wire 7/10 SWG. | No. | 5 |
| 6 | Earthing of poles by earthing rod with GI wire. | No. | 12 |
| 7 | Providing and Fixing of Stone Ped 300x300x75 | No. | 12 |
| 8 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 71 |
| 9 | Providing of HDPE Pipe 160mm dia | Mtr. | 130 |
| 10 | Providing and fixing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 42 |
| 11 | Providing and fixing of Number plate with clamp on the each pole. | No. | 10 |
| 12 | Providing and Fixing 11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with | No. | 12 |
| 13 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 24 |
| 14 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 12 |
| 15 | Providing of Alluminium Paint (British/Asian/enamel paint) | Ltrs | 12 |
| 16 | Laying of cable XLPE size 3x185 Sq. mm after Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine. | Mtr. | 130 |
| 17 | Digging of new trench & Laying of cable XLPE size 3x185 Sq. mm covered with new bricks, sand and there after proper earth filling with ramming at complete. | Mtr. | 360 |
| 18 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x185 sq mm of outdoor. | No. | 16 |
| 19 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 12 |
| 20 | Off shooting of tree branches touching the 11 KV line. | Job. | 01 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= esa iq.kZ tek ;kstuk esa Lohd`r izkaDyu ds vUrxZr 33@11 ds0oh0 midsUnz ‘kkdqEcjh fogkj ls u;s 11 ds0oh0 eoh dyk iks"kd dk fuekZ.k o vkokl fodkl ,ao iSjkekmUV QhMj o vkS|ksfxd rrh; iks"kd dks tksMus ds dk;Z djus dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of ST poles 11 Mtr. from ESC, SREto site of work including loading & unloading at both ends. | No. | 12 |
| 2 | Safely cartage of other complete line material (Except ST Poles) from ESC, SRE to site of work including loading, unloading at both ends. | Ton. | 1 |
| 3 | Erection of single ST poles SP-55 11 Mtr. Long with completing fitting of all accessories of 11 KV line as per RESPO Specifications. | No. | 6 |
| 4 | Fabrication and Erection of double pole SP-55 11 Mtr. long ST Poles with complete fitting of all accessories with bracings as per RESPO Specifications. | No. | 3 |
| 5 | Grouting of stay rod (16x1800) mm including all work exacavation, cement, concreting in size (0.60x0.60x0.30) mm in ratio 1:4:8 cement, sand, 40 mm brick ballast) including back filling and proper ramming etc. & nuzzling of stay wire 7/10 SWG. | No. | 5 |
| 6 | Earthing of poles by earthing rod with GI wire. | No. | 12 |
| 7 | Providing and Fixing of Stone Ped 300x300x75 | No. | 12 |
| 8 | Providing of All type MS Clamp for ST poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 99 |
| 9 | Providing of HDPE Pipe 160mm dia | Mtr. | 130 |
| 10 | Providing and fixing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 48 |
| 11 | Providing and fixing of Number plate with clamp on the each pole. | No. | 10 |
| 12 | Providing and Fixing 11 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with | No. | 12 |
| 13 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 24 |
| 14 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 12 |
| 15 | Providing of Alluminium Paint (British/Asian/enamel paint) | Ltrs | 12 |
| 16 | Laying of cable XLPE size 3x185 Sq. mm after Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine. | Mtr. | 130 |
| 17 | Digging of new trench & Laying of cable XLPE size 3x185 Sq. mm covered with new bricks, sand and there after proper earth filling with ramming at complete. | Mtr. | 560 |
| 18 | Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of size 3x185 sq mm of outdoor. | No. | 24 |
| 19 | Concreting of ST poles SP-55, 11 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 12 |
| 20 | Off shooting of tree branches touching the 11 KV line. | Job. | 01 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo"k;%& fo|qr forj.k [k.M&cfy;k[ksMh] lgkjuiqj ds dk;Z {ks= esa fofHkUu 33@11 ds0oh0 midsUnzks ,ao 11

ds0oh0 o 33 ds0oh0 iks”kdks ij yxs ,Dl0,y0ih0bZ0 dsfcyks ds {kfrxzLr gksus ij cnyus ,ao {kfrxzLr

dsfcy ckWDl ¼vkÅV Mksj o buMksj½ dks cnyus dk dk;Z djus jfuax dkWUVsªDV ds vk/kkj ij djus dk

fooj.kA

| SN | Details of work | Unit | Qty. |
| --- | --- | --- | --- |
| 1 | Safely Carriage of 11 KV XLPE Cable of size up to 3x300 sq. mm from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Distance app. 0 to 60 km.) | Mtr. | 1 |
| 2 | Safely Carriage of 33 KV XLPE Cable of size up to 3x300 sq. mm from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Distance app. 0 to 40 km.) | Mtr. | 1 |
| 3 | Digging of Trenches and Pulley out of old and Damaged 11 KV XLPE cable size up to 3x300sq.mm including making of roll Properly. | Mtr. | 1 |
| 4 | Laying of New 11 KV XLPE cable size up to 3x300 Sq. mm ie the trench proper earth filling complete. | Mtr. | 1 |
| 5 | Digging of Trenches and Pulley out of old and Damaged 33 KV XLPE cable size up to 3x300sq.mm including making of roll Properly. | Mtr. | 1 |
| 6 | Laying of new 33 KV XLPE cable size up to 3x300 Sq. mm ie the trench proper earth filling complete. | Mtr. | 1 |
| 7 | Laying of New 11 KV XLPE Cable of size up to 3x300 sq. mm under Railway line/ Road crossing exesting pipe/33/11 KV S/S & other place with trench to D/P and covered With old Bricks and send & earth filling with ramming complete. | Mtr. | 1 |
| 8 | Laying of New 33 KV XLPE Cable of size up to 3x300 sq. mm under Railway line/ Road crossing in exesting pipe & other place with trench D/P to D/P and covered With old Bricks and send & earth filling with ramming complete. | Mtr. | 1 |
| 9 | Providing & Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of outdoor & indoor side. up to 3x300 sq mm. | No. | 1 |
| 10 | Providing & Fixing & Making of 33 KV Cable Heat shrinkable terminations kits of outdoor side. up to 3x300 sq mm. | No. | 1 |
| 11 | Fixing, Making of New 11 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required outdoor & indoor up to 3x300 sq mm. after opening of connection & Removal of 11 existing Cable & cutting the damaged jointing kits with the same peroperly. | No. | 1 |
| 12 | Fixing, Making of New 11 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required straight Through up to 3x300 sq mm. after opening of connection & Removal of 11 KV existing Cable with the same peroperly. | No. | 1 |
| 13 | Fixing, Making of New 33 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required outdoor & indoor up to 3x300 sq mm. after opening of connection & Removal of 33 existing Cable & cutting the damaged jointing kits with the same peroperly. | No. | 1 |
| 14 | Fixing, Making of New 33 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required straight Through up to 3x300 sq mm. after opening of connection & Removal of 33 KV existing Cable with the same peroperly. | No. | 1 |
| 15 | Carriage of old and Damaged 33 KV /11 KV XLPE cable up to 3x300sq mm from site to ESC/JE store including loading and unloading at both end. | Job. | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-II

PVVNL Saharanpur

fo”k;%&fo|qr forj.k [k.M&cfy;k[ksMh] lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ ds dk;Z {ks= esa

fofHkUu 33@11 ds0oh0 midsUnzks ls lEcfU/kr 33 ds0oh0 o 11 ds0oh0 ,oa ,y0Vh0 ykbZuksa ds

ejEerhdj.k ,ao lqn`<hadj.k o xys gq;s iksyks dks ,axy yxkdj oSYfMax djuk] {kfrxzLr ,0ch0

dsfcy cnyuk vkfn dk;Z 6 ekg dh vof/k ds fy;s jfuax dkWUVsªDV ds ek/;e ls djkus dk fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. | No. | 1 |
| 2 | Safely cartage of line material (Except PCC /ST Poles) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. | Kg. | 1 |
| 3 | Erection of single support on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/ 11 KV / LT lines. | No. | 1 |
| 4 | Erection of D/P on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/11 KV lines. | No. | 1 |
| 5 | Re-Straightening of tilted ST/ PCC poles up to 13 Mtr. long of 33 KV/ 11 KV / LT lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 6 | Re-strengthening of tilted D/P (PCC/ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole the same properly. | No. | 1 |
| 7 | Re-sagging of loose conductor of 11 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 8 | Re-sagging of loose conductor of 33 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 9 | Re-sagging of loose ABC cable with opening consumer cable connections and Re- connections the same complete in all respect. | Span | 1 |
| 10 | Laying, lifting, Stringing, proper sagging LT AB cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. | Mtr. | 1 |
| 11 | welding of damaged ST Pole/RS Joist with Providing angle pics size 65x65x6mm complete properly. | Job. | 1 |
| 12 | Re-straightening of tilted X-arm with opening of complete fitting jumpers and re-fitting the same after re-strengthening of tilted X-arm properly. | No. | 1 |
| 13 | Tightening of loose stay including opening, binding & nozzling of stay wire. | No. | 1 |
| 14 | Replacement of broken/damaged Disc & Pin insulators | No. | 1 |
| 15 | Off shooting of tree branches touching the 33 KV/11 KV line. | Job | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%&fo|qr forj.k [k.M cfy;k[ksMh] lgkjuiqj ds vUrZxr mi[k.M dSyk'kiqj ds dk;Z{ks= esa eq[; dkaoM+ ekxZ ij

dkaoM +;kf=;ksa dh lqj{kk gsrq jkds'k dSfedy ls xkxygsMh ¼Hkxokuiqj pkSd½ rd 33 ds0oh0 ,ao 11 ds0oh0 o

,y0Vh0 ykbZuksa dk ejEerhdj.k ,ao ifjorZdks dh vLFkkbZ cSfjdsfVax] <hys rkj o >qds gq, iksyks dks Bhd

djuk] o IykfLVd bUlqyslu yxkuk ,ao xkfMZax djus dk dk;Z djus dk  fooj.kA

| sn | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Providing of Plastic Insulation Sheet | Roll | 15 |
| 2 | Straightening of tilted ST & PCC poles of 33 KV,11 KV & LT lines with opening, binding and jumpering of conductor. | No. | 22 |
| 3 | Strengthening of tilted D/P (PCC & ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole. | No. | 3 |
| 4 | Straightening of tilted 11 KV X-Arm Angal | No. | 14 |
| 5 | Straightening of tilted 33 KV X-Arm Channel | No. | 9 |
| 6 | Tighting of loose stay including binding and nuzzling with stay wire. | No. | 12 |
| 7 | Opening of consumer cable connections for LT line then sagging, binding, jumpering and reconnection of cable of consumer. | No. | 40 |
| 8 | Sagging of loose conductor of 11 KV & LT line with opening binding & Re-binding with jumpring etc. | Span | 32 |
| 9 | Sagging of loose conductor of 33 KV line with opening binding & Re-binding with jumpring etc. | Span | 12 |
| 10 | Sagging of loose AB conductor of LT line Peropery. | Span | 8 |
| 11 | Providing of wooden balli & fixing Temporary Bairikeding of 25/63/100/250/400 KV T/F on road site | Job | 4 |
| 12 | Fixing of Plastic Insulation Sheet for 6 fit cover Iran Pole on road site. | Job | 6 |
| 13 | Guarding of span of road crossing 11 KV/LT line crossing with G.I. wire. | Span | 2 |
| 14 | Off shooting of tree branches touching the 33 KV/11 KV/LT line. | Job | 4 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%&fo|qr forj.k [k.M cfy;k[ksMh] lgkjuiqj ds vUrZxr mi[k.M dSyk'kiqj ds dk;Z{ks= esa eq[; dkaoM+ ekxZ ij

dkaoM +;kf=;ksa dh lqj{kk gsrq xkxygsMh ¼Hkxokuiqj pkSd½ ls dkyh unh] mRrjk[k.M lhek rd 33 ds0oh0

,ao 11 ds0oh0 o ,y0Vh0 ykbZuksa dk ejEerhdj.k ,ao ifjorZdks dh vLFkkbZ cSfjdsfVax] <hys rkj o >qds gq,

iksyks dks Bhd djuk] o IykfLVd bUlqyslu yxkuk ,ao xkfMZax djus dk dk;Z djus dk fooj.kA

| sn | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Providing of Plastic Insulation Sheet | Roll | 14 |
| 2 | Straightening of tilted ST & PCC poles of 33 KV,11 KV & LT lines with opening, binding and jumpering of conductor. | No. | 24 |
| 3 | Strengthening of tilted D/P (PCC & ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole. | No. | 4 |
| 4 | Straightening of tilted 11 KV X-Arm Angal | No. | 15 |
| 5 | Straightening of tilted 33 KV X-Arm Channel | No. | 10 |
| 6 | Tighting of loose stay including binding and nuzzling with stay wire. | No. | 14 |
| 7 | Opening of consumer cable connections for LT line then sagging, binding, jumpering and reconnection of cable of consumer. | No. | 45 |
| 8 | Sagging of loose conductor of 11 KV & LT line with opening binding & Re-binding with jumpring etc. | Span | 34 |
| 9 | Sagging of loose conductor of 33 KV line with opening binding & Re-binding with jumpring etc. | Span | 10 |
| 10 | Sagging of loose AB conductor of LT line Peropery. | Span | 9 |
| 11 | Providing of wooden balli & fixing Temporary Bairikeding of 25/63/100/250 KV T/F on road site | Job | 3 |
| 12 | Fixing of Plastic Insulation Sheet for 6 fit cover Iran Pole on road site. | Job | 5 |
| 13 | Guarding of span of road crossing 11 KV/LT line crossing with G.I. wire. | Span | 2 |
| 14 | Off shooting of tree branches touching the 33 KV/11 KV/LT line. | Job | 4 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%&fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrZxr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z{ks= esa dkaoM+

;kf=;ksa dh lqj{kk gsrq Vijh jksM jkewxsV ls fgUMu unh ¼xkze yk[kukSj½ rd 11 dsoh ,ao ,y0Vh0 ykbZuksa

dk ejEerhdj.k ,ao ifjorZdks dh vLFkkbZ cSfjdsfVax] <hys rkj o >qds gq, iksyks dks Bhd djuk] o

IykfLVd bUlqyslu yxkuk ,ao xkfMZax djus dk dk;Z dk fooj.kA

| sn | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Providing of Plastic Insulation Sheet | Roll | 8 |
| 2 | Straightening of tilted ST & PCC poles of 11 KV & LT lines with opening, binding and jumpering of conductor. | No. | 12 |
| 3 | Strengthening of tilted D/P (PCC & ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole. | No. | 1 |
| 4 | Straightening of tilted 11 KV X-Arm Angal | No. | 10 |
| 5 | Tighting of loose stay including binding and nuzzling with stay wire. | No. | 8 |
| 6 | Opening of consumer cable connections for LT line then sagging, binding, jumpering and reconnection of cable of consumer. | No. | 30 |
| 7 | Sagging of loose conductor of 11 KV & LT line with opening binding & Re-binding with jumpring etc. | Span | 22 |
| 8 | Sagging of loose AB conductor of LT line Peropery. | Span | 9 |
| 9 | Providing of wooden balli & fixing Temporary Bairikeding of 25/63/100/250 KV T/F on road site | Job | 2 |
| 10 | Fixing of Plastic Insulation Sheet for 6 fit cover Iran Pole on road site. | Job | 3 |
| 11 | Guarding of span of road crossing 11 KV/LT line crossing with G.I. wire. | Span | 2 |
| 12 | Off shooting of tree branches touching the 11 KV/LT line. | Job | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

| 25 |  |  |
| --- | --- | --- |

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= eas 33@11 ds0oh0

midsUnz vkbZ0Vh0vkbZ izFke ,ao f}rh; o ‘ks[kiqjk dh 33 ds0oh0 o 11 ds0oh0 ,oa ,y0Vh0 ykbZuksa ls

lEcfU/kr ejEerhdj.k ,ao lqn`<hadj.k o estj czsdMkmu] vkfn dk;Z 6 ekg dh vof/k ds fy;s jfuax

dkWUVsªDV ds ek/;e ls djkus dk fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. | No. | 1 |
| 2 | Safely cartage of line material (Except PCC /ST Poles) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. | Ton. | 1 |
| 3 | Erection of single support on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/ 11 KV / LT lines. | No. | 1 |
| 4 | Re-Straightening of tilted ST/ PCC poles up to 13 Mtr. long of 11 KV / LT lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 5 | Re-Straightening of tilted ST/ PCC poles 9/11/13 Mtr. long of 33 KV lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 6 | Re-strengthening of tilted D/P (PCC/ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole 11 KV lines the same properly. | No. | 1 |
| 7 | Re-strengthening of tilted D/P (PCC/ST poles) opening of complete fitting and re-fitting of complete fitting after re-strengthening of tilted Double Pole 33 KV lines the same properly. | No. | 1 |
| 8 | Re-sagging of loose conductor of 11 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 9 | Re-sagging of loose conductor of 33 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 10 | Re-sagging of loose ABC cable with opening consumer cable connections and Re- connections the same complete in all respect. | Span | 1 |
| 11 | Re-straightening of tilted 11 KV X-arm opening of binding and re-binding the same properly. | No. | 1 |
| 12 | Re-straightening of tilted 33 KV X-arm opening of binding and re-binding the same properly. | No. | 1 |
| 13 | Tightening of loose stay including opening, binding & nozzling of stay wire. | No. | 1 |
| 14 | Replacement of broken/damaged Disc & Pin insulators | No. | 1 |
| 15 | Off shooting of tree branches touching the 33 KV/11 KV line. | Job | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%&fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ ds dk;Z {ks= esa fofHkUu

33@11 ds0oh0 midsUnzks lEcfU/kr 33 ds0oh0 o 11 ds0oh0 ,oa ,y0Vh0 ykbZuksa dk ejEerhdj.k ,ao

lqn`<hadj.k o estj czsdMkmu] vkfn dk;Z 6 ekg dh vof/k ds fy;s jfuax dkWUVsªDV ds ek/;e ls djkus

dk fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. | No. | 1 |
| 2 | Safely cartage of line material (Except PCC /ST Poles) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. | Ton. | 1 |
| 3 | Erection of single support on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/ 11 KV / LT lines. | No. | 1 |
| 4 | Re-Straightening of tilted ST/ PCC poles up to 13 Mtr. long of 11 KV / LT lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 5 | Re-Straightening of tilted ST/ PCC poles 9/11/13 Mtr. long of 33 KV lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 6 | Re-strengthening of tilted D/P (PCC/ST poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole 11 KV lines the same properly. | No. | 1 |
| 7 | Re-strengthening of tilted D/P (PCC/ST poles) opening of complete fitting and re-fitting of complete fitting after re-strengthening of tilted Double Pole 33 KV lines the same properly. | No. | 1 |
| 8 | Re-sagging of loose conductor of 11 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 9 | Re-sagging of loose conductor of 33 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 10 | Re-sagging of loose ABC cable with opening consumer cable connections and Re- connections the same complete in all respect. | Span | 1 |
| 11 | Re-straightening of tilted 11 KV X-arm opening of binding and re-binding the same properly. | No. | 1 |
| 12 | Re-straightening of tilted 33 KV X-arm opening of binding and re-binding the same properly. | No. | 1 |
| 13 | Tightening of loose stay including opening, binding & nozzling of stay wire. | No. | 1 |
| 14 | Replacement of broken/damaged Disc & Pin insulators | No. | 1 |
| 15 | Off shooting of tree branches touching the 33 KV/11 KV line. | Job | 1 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakhedi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M f}rh; lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ ds dk;Z {ks= esa iq.kZ tek

;kstuk esa Lohd`r izkaDyuksa ds vUrxZr ubZ 33 ds0oh0 ,ao 11 ds0oh0 o ,y0Vh0 ykbZuksa dk fuekZ.k

djuk ,oa 10@25@63@100@250 ds0oh0,0 ds ifjorZdksa dks LFkkfir djus o {kerko`f) djus 33

o 11 ds0oh0 ,ao ,y0Vh0 ykbZuksa dks LFkkukUrj.k  djus gsrq 01 o”kZ dh vof/k ds fy, dk;Z djus

dk fooj.kA

| SN | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safely cartage of ST Pole 11 Mtr. Long & PCC poles 8.5 Mtr. Long from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.0 to 40 Km.) | No. | 1 |
| 2 | Safe cartage of ST Pole 13 Mtr. Long & PCC poles 11 Mtr. Long from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.0 to 40 Km.) | No. | 1 |
| 3 | Safely cartage of other complete line material (Except PCC /ST Poles/11KV & 33 KV XLPE Cable/ LT AB Cable) from ESC, SRE/ JE store to site of work at vari ous sites including loading, unloading at both ends.( Dist. 0 to 40 Km.) | Kg. | 1 |
| 4 | Safe cartage of 10/25/63/ 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. 0 to 40 km.) | No. | 1 |
| 5 | Safely Carriage of 33 KV/11 KV XLPE Cable of size 3X35/3x70/ 3X120/3x185/3x300 sq mm. sq. mm from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Dist. 0 to 40 km.) | Mtr. | 1 |
| 6 | Safely Carriage of LT AB Cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Dist. 0 to 60 km.) | Mtr. | 1 |
| 7 | Safe cartage of 11KV/33 KV CT/PT Unit from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. 0 to 40 km.) | No. | 1 |
| 8 | Safe cartage of 11KV/33 KV Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. 0 to 40 km.) | No. | 1 |
| 9 | Safe cartage of 250 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. 0 to 40 km.) | No. | 1 |
| 10 | Construction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1.5 Mtr. made of 9" thick wall in all the four sides with 6" thick RCC top duly filled with sand & plastered 12 mm. thick in ratio 1:4 with cement & sand on outer surface of brick wall. | No. | 1 |
| 11 | Safely installation of 250 KVA T/F on the Plinth with complete fittings including making HT connections and commissioning. | No. | 1 |
| 12 | Wire mesh fencing of 250 KVA T/F size 2.5x2.5x2.5 mt. grouting making frame of MS angal 35x35x4 mm and fixing four no. MS strip size 25x5 mm at equal distance in between the frame and fixing square mesh 50 mm square in each frame the fencing should cover all side of T/F with providing 1 No. door size 6’x3’ with sitakni & Dandala. | No. | 1 |
| 13 | Earthing of 250 KVA T/F (01 No. body & 01 No. neutral earthing) by boring of 60 ft. deep & fixing of 60 ft.G.I. Pipe 11/2” Dia ( Jindal class B ) and connecting with G.I. Strip of size 40X5 mm and G.I. wire. at bottom of G.I. pipe to the T/F providing of required charcoal & salt in the pipe. | No. | 1 |
| 14 | Erection of single support on ST Pole 11 Mtr. Long & PCC poles 8.5 Mtr. Long with complete fitting of all accessories of 33 KV/11 KV/LT line. complete. | No. | 1 |
| 15 | Erection of single support on ST Pole 13 Mtr. Long & PCC poles 11 Mtr. Long with complete fitting of all accessories of 33 KV/11 KV/LT line. complete. | No. | 1 |
| 16 | Erection of double Pole on ST Pole 11 Mtr. Long & PCC poles 8.5 Mtr. Long with complete fitting with all accessories of 33 KV/11 KV line. complete. | No. | 1 |
| 17 | Erection of double Pole on ST Pole 13 Mtr. Long & PCC poles 11 Mtr. Long with complete fitting with all accessories of 33 KV/11 KV line. complete. | No. | 1 |
| 18 | Fixing of 11 KV DO Fuse Set on D/P complete properly | No. | 1 |
| 19 | Fixing of 11 KV TPMO on D/P complete properly | No. | 1 |
| 20 | Providing of HDPE Pipe 160mm dia | Mtr. | 1 |
| 21 | Drilling of earth under Road crossing 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance by drill machine/JCB machine/ labour. | Mtr. | 1 |
| 22 | Laying of 11KV/33 KV XLPE cable size up to 3X300 sq mm in the 2 No. Parreral HDPE pipe 160 mm dia on 0.5 meter distance. | Mtr. | 1 |
| 23 | Providing and fixing of Number plate with clamp on the each pole. | No. | 1 |
| 24 | Providing and Fixing 11KV/33 KV Danger board with clamp nuts & bolts. for ST Poles made of 3mm thick foam sheet (8" X 6") with | No. | 1 |
| 25 | Providing and fixing of GI barbed wire on the each pole. | Kg. | 1 |
| 26 | Providing of Red oxide Paints (British/Asian/enamel paint) | Ltrs | 1 |
| 27 | Providing of Aluminum Paint (British/Asian/enamel paint) | Ltrs | 1 |
| 28 | Painting of ST poles 11 Mtr, SP-55 with 2 coats of synthetic enamel paint after one coat of ready mix primer as well as rubbing/cleaning of surface as required for proper completion of work. and remaining by Aluminum paint including all channels/clamps etc. | No. | 1 |
| 29 | Fixing of 11KV/33 KV stay rods by digging of pits in block of 600X600X300 mm. & with nozzling of stay wire 7/10 / 7/8 SWG and fitting the same on the pole. | No. | 1 |
| 30 | Concreting of stay rod in ratio 1:4:8 with Ist class brick ballast with cement, sand. | No. | 1 |
| 31 | Providing and Fixing of Stone Ped 300x300x75 | No. | 1 |
| 32 | Earthing of poles by earthing rod | No. | 1 |
| 33 | Providing of All type MS Clamp for ST Pole/ PCC poles with nuts bolts made of new MS flat iron 50x5 mm. | No. | 1 |
| 34 | Providing of LT shekel insulator of size 100x115mm | No. | 1 |
| 35 | Providing of nuts & bolts of various sizes. | Kg. | 1 |
| 36 | Providing of Suspention clamp with I- Hook | No. | 1 |
| 37 | Providing of Dead end clamp with I- Hook | No. | 1 |
| 38 | Providing of Piercing connector Diff. size. | No. | 1 |
| 39 | Providing of PG Clamp Diff. size. | No. | 1 |
| 40 | Providing of 1X16 sqmm Cable for connection of Distibution box. | Mtr. | 1 |
| 41 | Providing of 11 KV cable terminations kit out door & indoor of size 3X35/3x70/ 3X120/3x185/3x300 sq mm. | No. | 1 |
| 42 | Providing of 33 KV cable terminations kit outdoor of size 3X120/3x185/3x300 sq mm. | No. | 1 |
| 43 | Providing of G.I. Pipe 100mm 4'' dia Class B | Mtr. | 1 |
| 44 | Providing of G.I. Pipe 150mm 6'' dia Class B | Mtr. | 1 |
| 45 | Removal of old weasel/Rabbit/Dog conductor from the Existing 33 KV/11KV/ LT lines with making roll of conductor and shifting the same to ESC, SRE/J.E store including loading and unloading at both ends. | Mtr. | 1 |
| 46 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. | Mtr. | 1 |
| 47 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. | Mtr. | 1 |
| 48 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Dog Conductor for 33KV/11KV/LT Line including complete. | Mtr. | 1 |
| 49 | Removal of 10/25/63/100 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the si.te to ESC, SRE/JE store with loading & unloading at both ends. | No. | 1 |
| 50 | Safe installation of 10/25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. | No. | 1 |
| 51 | Safely installation of 11KV/33 KV CT/PT Unit on the double pole with complete fittings including making connections and commissioning. | No. | 1 |
| 52 | Safe installation of 11KV/33 KV Metering cubical in the room with complete fittings including making connections and commissioning. | No. | 1 |
| 53 | Chemical Earthing of Metering cubical/ CT/PT Unit/ 63/100 KVA T/F and connecting with G.I. Strip of size 25X4 mm to the Metering cubical/ CT/PT Unit/63/100 KVA T/F Complete Properly. | No. | 1 |
| 54 | Laying, lifting, Stringing, proper sagging 11 KV/33 KV AB cable of size 3x95+1x70/ 3x120+1x95 sq.mm. including fixing of all accessories. | Mtr. | 1 |
| 55 | Laying, lifting, Stringing, proper sagging LT AB cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. | Mtr. | 1 |
| 56 | Laying, lifting, stringing proper sagging of 11/33 KV XLPE cable 3X35/3x70/ 3X120/3x185/3x300 sq mm of including complete etc | Mtr. | 1 |
| 57 | Fixing, Making of 11 KV cable terminations kit out door & indoor of size 3X35/3x70/ 3X120/3x185/3x300 sq mm. | No. | 1 |
| 58 | Fixing, Making of 33 KV cable terminations kit out door of size 3X120/3x185/3x300 sq mm. | No. | 1 |
| 59 | Laying and making connections of LT PVC/XLPE cable 2x6/4x16/4x25/4x35/3.5x50/ 3.5x70 / 3.5x150/ sq.mm. from T/F to double pole (approx to 20 Mtr). | Job | 1 |
| 60 | Fabrication charges of Angle & Channal | Job | 1 |
| 61 | Fixing of Distibution box with clamp. 01 & 03 Phese | No. | 1 |
| 62 | Providing & Fixing of SMC Fuse Box for T/F | No. | 1 |
| 63 | Fixing of G.I. pipe 100mm 4'' dia/150mm 6'' dia 3.5 mtr. long at the both side of double pole. | Mtr. | 1 |
| 64 | Hanging of cable on D/P after Fixing of outdoor terminations kits work as per site condition with jumpring complete. | Job | 1 |
| 65 | Concreting of ST poles SP-55, 11 Mtr. & SP-72, 13 Mtr. long with cement concreting in bolck of 600X600X1500 MM. in ratio 1:4:8 with cement, sand and brick ballast size 1''x1.5'' with plinth. | No. | 1 |
| 66 | Dismantling of existing PCC/ST pole after opening of complete accessories. | Job | 1 |
| 67 | Off shooting of tree branches touching the 33KV/11 KV/LT line. | Job | 1 |

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds dk;Z {ks= es fofHkUu vkS|ksfxd ,ao okf.kT;

miHkksDrkvksa dh {kfrxzLr 11 ,ao 33  ds0oh0 lh-0Vh0ih0Vh0 ;wfuV cnyus ds dk;Z dk

fooj.kA

| S.N. | Details of work | Unit | Qty. |
| --- | --- | --- | --- |
| 1. | Removal of damaged 11 KV /33 KV CT/PT combined unit different raito from the existing D/P after opening all connection. | No. | 01 |
| 2. | Safely cartage of damaged 11 KV /33 KV CT/PT combined unit different raito from site of work at various sites to ESC, SRE/JE Store including loading & unloading at both ends. (Distance 0 to 50 KM.) | No. | 01 |
| 3. | Safely cartage of new 11 KV /33 KV CT/PT combined unit different raito from ESC, SRE/JE Store to the site of work at various sites including loading & unloading at both ends. (Distance 0 to 50 KM.) | No. | 01 |
| 4. | Installation of new 11 KV/33 KV CT/PT unit different raito on double pole & making the all connections Peroperly. | No. | 01 |

¼latho dqekj½

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z {ks= fofHkUu

33 ds0oh0 o 11 ds0oh0 ,oa ,y0Vh0 ykbZuksa ls lEcfU/kr ejEerhdj.k ,ao lqn`<hadj.k o estj

czsdMkmu] vkfn dk;Z 6 ekg dh vof/k ds fy;s jfuax dkWUVsªDV ds ek/;e ls djkus dk fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. | No. | 1 |
| 2 | Safely cartage of line material (Except PCC /ST Poles) from ESC, SRE /JE store to site of work at various sites including loading, unloading at both ends. | Kg. | 1 |
| 3 | Erection of single support on ST/ PCC poles up to 13 Mtr. long with complete fitting of all accessories of 33 KV/ 11 KV / LT lines. | No. | 1 |
| 4 | Erection of double Pole on ST/ PCC poles up to 13 Mtr. long with complete fitting with all accessories complete. | No. | 1 |
| 5 | Re-Straightening of tilted ST/ PCC poles up to 13 Mtr. long of 33 KV/ 11 KV / LT lines with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. | No. | 1 |
| 6 | Re-strengthening of tilted D/P (PCC/ST up to 13 Mtr. long with opening, of all accessories & binding and jumpering of conductor. & Re-fitting the all accessories, Re-binding, Re-jumpering the same properly. | No. | 1 |
| 7 | Re-sagging of loose conductor of 11 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 8 | Re-sagging of loose conductor of 33 KV lines (consisting of 3 Phase) with opening, binding and jumpering of conductor & Re-binding, Re-jumpering the same properly. | Span | 1 |
| 9 | Re-sagging of all size loose AB cable with opening consumer cable connections and Re- connections the same complete in all respect. | Span | 1 |
| 10 | Removal of old & Damaged weasel/ Rabbit/ AB conductor from the Existing 11KV/ LT lines with making roll of conductor and shifting the same to ESC, SRE/J.E store including loading and unloading at both ends. | Mtr. | 1 |
| 11 | Safely Dismantling & cartage of ST/ PCC poles up to 13 Mtr. from site to JE store including loading & unloading at both ends. | No. | 1 |
| 12 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasal/Rabbit/Dog Conductor for 11KV/LT Line including complete. | Mtr. | 1 |
| 13 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. | Span; Span. | 1 |
| 14 | Providing & Fixing of All type MS Clamp for ST/ PCC poles with nuts bolts made of new MS flat iron 50x6 mm. | No. | 1 |
| 15 | Re-straightening of tilted X-arm with opening of complete fitting jumpers and re-fitting the same after re-strengthening of tilted X-arm properly. | No. | 1 |
| 16 | Tightening of loose stay including opening, binding & nozzling of stay wire. | No. | 1 |
| 17 | Replacement of broken/damaged Disc & Pin insulators | No. | 1 |
| 18 | Off shooting of tree branches touching the 33 KV/11 KV line. | Job | 1 |

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo”k;%& fo|qr forj.k [k.M&cfy;k[ksMh lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ ds dk;Z {ks=

esa  fofHkUu 33@11 ds0oh0 midsUnzks ij LFkkfir fofHkUu esd dh 11 ds0oh0 budfeax ,ao

vkmVxksbax oh0lh0ch0 dh iq.kZ fjisfjax o vksojgkfayWx dk dk;Z 6 ekg dh vof/k ds fy;s

jfuax dkWUVsªDV ds ek/;e ls djkus fooj.kA

| S.N. | Details of work | Unit | Qty |
| --- | --- | --- | --- |
| 1 | Complete Reparing of tripping mechanism system & replacement of lever, bush, sping etc. | Job | 1 |
| 2 | Replacement of damage tripping coil complete with plunger, with Providing by The Contractor | No. | 1 |
| 3 | Replacement of charging gerari & non retun bearing with Providing by The Contractor | Job | 1 |
| 4 | Replacement of big garari with bearing with Providing by The Contractor | No. | 1 |
| 5 | Replacement of damage Epoxy spout complete with Providing by The Contractor | No. | 1 |
| 6 | Replacement of intraptor connecting rod with Providing by The Contractor | No. | 1 |
| 7 | Complete Reparing of jack and replacement of lever,bush, bearing and jack rod complete | Job | 1 |
| 8 | Providing of 2.5 mm sq PVC copper wire lugs etc and complete of damaged burnt wiring complete. | Job | 1 |
| 9 | Replacement of damage shawer contact made of copper.With Providing by The Contractor | No. | 1 |
| 10 | Replacement of damage Vacuum Interrupter Housing made by Epoxy resin casted with Providing by The Contractor. | No. | 1 |
| 11 | Complete overhauling prpoer connection & providing and fixing of missing nut & bolt proper functioning | Job | 1 |
| 12 | Cleaning of carbonized spout assembly bus bar & cable box side by including cleaning with CRC of VCB panel & bus bar & greasing properly. | Job | 1 |
| 13 | Replacement of damage Vacuum Interrupter different make VCB. With Providing by The Contractor | No. | 1 |

vf/k’kklh vfHk;Urk

Office of the

Executive Engineer

Electricity Distribution Division-Baliyakherdi

PVVNL Saharanpur

fo"k;%& fo|qr forj.k [k.M&cfy;k[ksMh] lgkjuiqj ds dk;Z {ks= esa fofHkUu 33@11 ds0oh0 midsUnzks ,ao 11

ds0oh0 o 33 ds0oh0 iks”kdks ij yxs ,Dl0,y0ih0bZ0 dsfcyks ds {kfrxzLr gksus ij cnyus ,ao {kfrxzLr

dsfcy ckWDl ¼vkÅV Mksj o buMksj½ dks cnyus dk dk;Z djus gsrq 6 ekg dh vof/k ds fy;s jfuax

dkWUVsªDV ds ek/;e ls djkus fooj.kA

| SN | Details of work | Unit | Qty. |
| --- | --- | --- | --- |
| 1 | Safely Carriage of 11 KV XLPE Cable of size up to 3x300 sq. mm from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Distance app. 0 to 60 km.) | Mtr. | 1 |
| 2 | Safely Carriage of 33 KV XLPE Cable of size up to 3x300 sq. mm from ESC, SRE/ JE store to site of work at various sites including loading & unloading at both end (Distance app. 0 to 40 km.) | Mtr. | 1 |
| 3 | Digging of Trenches and Pulley out of old and Damaged 11 KV XLPE cable size up to 3x300sq.mm including making of roll Properly. | Mtr. | 1 |
| 4 | Laying of New 11 KV XLPE cable size up to 3x300 Sq. mm ie the trench proper earth filling complete. | Mtr. | 1 |
| 5 | Digging of Trenches and Pulley out of old and Damaged 33 KV XLPE cable size up to 3x300sq.mm including making of roll Properly. | Mtr. | 1 |
| 6 | Laying of new 33 KV XLPE cable size up to 3x300 Sq. mm ie the trench proper earth filling complete. | Mtr. | 1 |
| 7 | Laying of New 11 KV XLPE Cable of size up to 3x300 sq. mm under Railway line/ Road crossing exesting pipe/33/11 KV S/S & other place with trench to D/P and covered With old Bricks and send & earth filling with ramming complete. | Mtr. | 1 |
| 8 | Laying of New 33 KV XLPE Cable of size up to 3x300 sq. mm under Railway line/ Road crossing in exesting pipe & other place with trench D/P to D/P and covered With old Bricks and send & earth filling with ramming complete. | Mtr. | 1 |
| 9 | Providing & Fixing & Making of 11 KV Cable Heat shrinkable terminations kits of outdoor & indoor side. up to 3x300 sq mm. | No. | 1 |
| 10 | Providing & Fixing & Making of 33 KV Cable Heat shrinkable terminations kits of outdoor side. up to 3x300 sq mm. | No. | 1 |
| 11 | Fixing, Making of New 11 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required outdoor & indoor up to 3x300 sq mm. after opening of connection & Removal of 11 existing Cable & cutting the damaged jointing kits with the same peroperly. | No. | 1 |
| 12 | Fixing, Making of New 11 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required straight Through up to 3x300 sq mm. after Digging of Trenches of 11 KV existing Cable with the same peroperly. | No. | 1 |
| 13 | Fixing, Making of New 33 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required outdoor & indoor up to 3x300 sq mm. after opening of connection & Removal of 33 existing Cable & cutting the damaged jointing kits with the same peroperly. | No. | 1 |
| 14 | Fixing, Making of New 33 KV Cable Heat shrinkable terminations kits with Providing by the contractor as required straight Through up to 3x300 sq mm. after after Digging of Trenches of 33 KV existing Cable with the same peroperly. | No. | 1 |
| 15 | Carriage of old and Damaged 33 KV /11 KV XLPE cable up to 3x300sq mm from site to ESC/JE store including loading and unloading at both end. | Job. | 1 |

vf/k’kklh vfHk;Urk